## site independent
technology assumptions | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | [9 empty] | references colour coded
[8 empty] | estimated start up times (notice to full load) |  |  |  | cycling costs |  |  | research these value and add it here
non-vre sources | levelized capital cost | fixed o&m cost | variable o&m cost (inc. fuel) | transmission investment | total system LCOE | efficiency | GHG emissions | hot start | warm start | cold start | spin ramp rate | hot start | warm start | cold start | spinning cost | minimum up time | minimum down time | shut down cost | negative change in power for spinning unit | shut down ramp limit | Operating reserve coeff. | Max capacity value | Total overnight cost in 2014
| 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh |  | kg CO2e/MWh | hours |  |  | %/min | $/MW cap. |  |  | [$ per hour committed] | [hours] | [hours] |  |  |  | [Fraction of installed capacity] | [Fraction of installed capacity] | $/kW
coal | 60 | 4.2 | 30.3 | 1.2 | 95.6 | 0.32623 | 820 | 3 | 6.5 | 10 | 2 | 59 | 65 | 105 | 10000 | 3 | 3 | 0 |  |  | 0.53 | 1 | 2917 | "Levelized cost and levelized avoided cost of new generation resources in the Annual Energy Outlook 2014" US Energy Information Administration
Natural gas | [14 empty] | 10000 | 4 | 3 | 0 |  |  |  | 1 |  | "FAQ: What is the efficiency of different types of power plants?" US Energy Information Administration
NG_CC | 14.3 | 1.7 | 49.1 | 1.2 | 66.3 | 0.55 | 490 | 1 | 2 | 4 | 5 | 35 | 55 | 79 | 10000 | 4 | 3 | 0 |  |  | 0.53 | 1 | 671 |  | Table 8.1. Average Operating Heat Rate for Selected Energy Sources, 2003-2013. US Energy Information Administration
NG_CT | 40.2 | 2.8 | 82 | 3.4 | 128.4 | 0.35 | 530 | 0.5 | 0.5 | 0.5 | 8 | 32 | 126 | 103 | 10000 | 4 | 3 | 0 |  |  | 1 | 1 | 968 |  | Annual Energy Review 2010. Appendix F: Alternatives for Estimating Energy Consumption. Table F1. Conversion Efficiencies of noncombustible Renewable Energy Sources. US Energy Information Administration.
NG_CG | 40.2 | 2.8 | 82 | 3.4 | 128.4 | 0.35 | 530 | 0.5 | 0.5 | 0.5 | 8 | 32 | 126 | 103 | 10000 | 4 | 3 | 0 |  |  | 1 | 1 | 968
diesel | 8 | 2 | 288 |  |  | 0.31849 | 733 | [6 empty] | 10000000 | 10000 |  |  | 0 |  |  | 0.86 | 1
fuel oil | 8 | 2 | 172.8 |  |  | 0.31849 | 733 | [6 empty] | 10000000 | 10000 |  |  | 0 |  |  | 0.86 | 1
nuclear | 71.4 | 11.8 | 11.8 | 1.1 | 96.1 | 0.32654 | 12 | 1 |  | 13 | 5 |  |  | 500 | 10000 | 10 | 3 | 0 |  |  | 0.2 | 1 | 5366 | "Biomass Energy Economics" Pacific Energy Systems, Inc.
hydro | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651 | Climate Change 2014: Mitigation of Climate Change. Contribution of Working Group III to the Fifth Assessment Report of the Intergovernmental Panel on Climate Change. Annex III: Technology-specific cost and performance parameters. Table A.III.2 Emissions of selected electricity supply technologies
hydro_hourly | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
hydro_daily | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
hydro_monthly | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
geothermal | 34.2 | 12.2 | 0 | 1.4 | 47.9 | 0.16 | 38 | [7 empty] | 10000 | [5 empty] | 0.32 | 1 | 2448 | "Technical Assessment of the Operation of Coal and Gas Fired Plants" Report to the DECC
biomass | 47.4 | 14.5 | 39.5 | 1.2 | 102.6 | 0.23 | 230 | [7 empty] | 10000 | [5 empty] | 0.53 | 1 | 3659 | "the westinghouse pressurized water reactor nuclear power plant" Table 16-1 Estimated Startup Time in Hours Required by NSSS
biogas | 47.4 | 14.5 | 39.5 | 1.2 | 102.6 | 0.23 | 230 | [7 empty] | 10000 | [5 empty] | 0.53 | 1 | 3659 | http://www.powerauthority.on.ca/current-electricity-contracts/sc-cc
variable renewable energy sources | levelized capital cost | fixed o&m cost | variable o&m cost (inc. fuel) | transmission investment | total system LCOE | efficiency | [17 empty] | "Cost and Performance Data for Power Generation Technologies" Prepared for the National Renewable Energy Laboratory
| 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | given by power curves | [17 empty] | "Power Plant Cycling Costs" Prepared for the National Renewable Energy Laboratory
wind | 64.1 | 13 | 0 | 3.2 | 80.3 | [5 empty] | TRUE | [10 empty] | 20% | 19.8
wind - offshore | 175.4 | 22.8 | 0 | 5.8 | 204.1 | [17 empty] | 6154 | *(likely conservative) estimate based on the fact that simple cycle is less efficient
solar PV | 114.5 | 11.4 | 0 | 4.1 | 130 | [16 empty] | 60% | 3279 | Trends in GHG Emissions in the Alberta Electricity Market
solar thermal | 195 | 42.1 | 0 | 6 | 243.1 | [17 empty] | 4052
diesel costs: Lazard LCOE version 8.0
balancing technologies | [23 empty] | assumed fuel oil costs are ~60% of diesel costs based on http://asian-power.com/regulation/commentary/reducing-diesel-power-plant-hfo-bill
"Comparison of Lifecycle Greenhouse Gas Emissions of Various Electricity Generation Sources" WNA
storage | capital cost power | capital cost capacity | annual operating costs | efficiency | applicable grid system size (MW) |  | storage capacity (kWh) |  | charge rate | discharge rate
| (avg) $/kW | (avg) $/kWh | $/kWyr | (max) | min | max | min | max | kW | kW | [13 empty] | "Electricity Storage and Renewables for Island Power" IRENA 2012
PHS | 2500 | 175 | 5 | 0.85 | 200 | 5000 |  |  | 2002500 | 2002500 | [10 empty] | 1 | 50% | 1000 | Kousksou et al. "Energy storage: Applications and challenges" Solar Energy Materials & Solar Cells 2014
CAES | 900 | 100 | 5 | 0.6 | 3 | 400 |  |  | 175000 | 300000 | [10 empty] | 1 | 50% | 650 | "Energy Technology Perspectives" IEA 2014
FES | 3000 | 2250 | 15 | 0.95 | 0.1 | 200 | 1 | 25 | 200 | 200 | [13 empty] | Nils's Paper (Submitted to Energy Economics)
batteries | [20 empty] | 1 | 50% | 1500 | EIA AEO2015 Table 8.2" Cost and Performance characteristics of new central station electricity generating technologies
Pb-acid | 550 | 325 | 30 | 0.9 | 0 | 10 | 0.5 | 10 | 0.8 | 1.25 | [13 empty] | My storage paper with Nils (YSSP report)
Ni-Cd | 1000 | 1150 |  | 0.65 | 0 | 40
Na-S | 1500 | 187.5 | 15 | 0.9 | 0.05 | 8 |  |  | 50 | 50
Li-ion | 700 | 1000 | 25 | 0.95 | 0 | 10 | 0.5 | 10 | 1.1 | 5.25
vanadium | 2500 | 575 |  | 0.85 | 0.05 | 10 | 20 | 50
hydrogen | 1000 | 15 |  | 0.5 | 0.1 | 10 |  |  | 2.505
flow battery | 1600 | 575 | 30 | 0.85 | 0.025 | 10 | 20 | 50 | 12.5 | 15
capacitors | 400 | 1000 |  | 0.65 | 0 | 0.05
supercapacitors | 300 | 2000 |  | 0.95 | 0 | 0.3
SMES | 300 | 10000 |  | 0.95 | 0.1 | 10
thermal | 250 | 26.5 |  | 0.6 | 0 | 300
sector integration - transportation
EV |  |  |  | 0.9 | [16 empty] | 1 | 50%
demand response - shifting
[5 empty] | shreddability (%) | controllability (%) | acceptability (%) | S*P | [15 empty] | "Grid Integration of Aggregated Demand Response, Part 1: Load Availability Profiles and Constraints for the Western Interconnection." NREL
assume x% flexibility - user input |  |  | commercial
assume different flexibilities during different hours |  |  | - cooling |  | 41-49 | 15-25 | 3-77 | 0.45*0.20=0.09 | summer = 9% | cooling peaks from 12-8pm
|  |  | - heating |  | 46-51 | 10-25 | 0-77 | g | winter = 8.6 % | heating peaks from 7-9 am
DR capacity = load * participation rate * sheddability |  |  | residential
participation = min (controllability, acceptability) |  |  | - cooling |  | 20-70 | 2-52 | 13-39 | 0.45*0.26=0.117 | summer = 8.35%
|  |  | - heating |  | 20-30 | 2-48 | 0-1.5 | 0.25*0.01=0.0025 | winter = 2.5%
lighting and ventilation are not easily shiftable! |  |  | - water heating |  | 25 | 13-26 | 13-39 | 0.25*0.20=0.05 |  | peaks 7am, 6pm
** would need demand data by sector |  |  | industrial |  | sheddability (%) | participation (%) | S*P | average |  | ind/mun fairly flat over day
divide year into heating/cooling, keep others year round |  |  | - agricultural water pumping |  | 100 | 10 | 10% | 6%
for multiple end uses, take average of shed * participation? |  |  | - data centres |  | 3 | 100 | 3%
for zeros, use a small non-zero number… |  |  | - regrigerated warehouses |  | 5 | 100 | 5%
for ranges, take midpoint? |  |  | municipal
|  |  | - fresh water pumping |  | 5 | 25 | 1.25%
|  |  | - waste water pumping |  | 5 | 25 | 1.25%
transmission
$ / kWh
- using existing lines | 0.009 | [22 empty] | AEO 2015 table 8
assumptions: aluminum conductor steel reinforced (ACSR), Tubular (230 kV)/Lattice (345 kV - 600 kV), >10 miles
- building new lines | $ / km | source gives in $/mile. 1 mile = 1.60934 km
-- 115 kV single circuit | 596331.4154 | [22 empty] | "Capital Costs for Transmission and Substations" prepared for the Western Electricity Coordinating Council
-- 115 kV double circuit | 954677.0726
-- 230 kV single circuit | 596331.4154
-- 230 kV double circuit | 954677.0726
-- 500 kV single circuit | 1192693.8994
-- 500 kV double circuit | 1908701.7038
-- 500 kV HVDC Bi-pole | 954677.0726
-- 600 kV HVDC Bi-pole | 1002398.4988
backup generation | depends on sources data
curtailment | output - last resort
sector integration - transportation
-- electric vehicles | base msrp | est. tax credit (US) | body type | seats | EPA range (miles conv to km) | batt size [kWh] | charge rate [kW] | [16 empty] | http://www.plugincars.com/cars
bmw i3 | 43300 | 7500 | sedan | 4 | 130.3565 | 22 | 6.6
chevrolet spark | 26000 | 7500 | coupe | 4 | 131.9659 | 19 | 3.3
fiat 500 e | 32600 | 7500 | sedan | 4 | 140.0126 | 24 | 6.6
ford focus electric | 30000 | 7500 | sedan | 5 | 122.3098 | 23 | 6.6
kia soul ev | 34500 | 7500 | sedan | 5 | 149.6686 | 27 | 6.6
mercedes B-class electric | 42400 | 7500 | sedan | 5 | 136.7939 | 28 | 10
mitsubishi i-MiEV | 23800 | 7500 | sedan | 4 | 99.7791 | 16 | 3.3
nissan LEAF | 29800 | 7500 | sedan | 5 | 135.1846 | 24 | 6.6
smart electric drive | 25700 | 7500 | coupe | 2 | 109.4351 | 17 | 3.3
tesla model s | 71000 | 7500 | sedan | 5 | 426.4751 | 85 | 10
volkswagen E-golf | 36300 | 7500 | sedan | 5 | 133.5752 | 24 | 7.2
tesla model X | 80000 | 7500 | SUV | 7 | 370.1482 | 85 | 10
-- comparison with gas vehicles | base msrp | no tax credits | body type | seats | fuel consumption (city/hwy/combined) [L/100km] | ghg emissions
smart | 14930 |  | coupe | 2 | 6.9/5.7/6.3 | 130g/km | [17 empty] | http://www.thesmart.ca/ca/en/index.html
fiat 500 | 16745 |  | sedan | 4 | 8.7/6.9 | [18 empty] | http://www.fiatcanada.com/en/2015/500/
ford focus | 17170 |  | sedan | 5 | 9.3/6.7/8.1 | [18 empty] | http://www.ford.ca/cars/focus/specifications/
ford explorer | 30700 |  | suv | 7 | 13.7/9.7 | [18 empty] | http://www.thesmart.ca/ca/en/index.html
[7 empty] | vehicle class | required battery size [kWh] | [15 empty] | "Impacts Assessment of PHEV on Electric Utilities and Regional US Power Grids Part 1: Technical Analysis" PNNL
--plug-in hybrid | assume average vehicle travels about 50 km/day - battery could easily displace fuel for such distance | [5 empty] | compact sedan | 8.6
[7 empty] | mid-size sedan | 9.9
[7 empty] | mid-size SUV | 12.5
[7 empty] | full-size SUV | 15.2
| costs |  | HEV cost premium avg $4000 | [20 empty] | Sovacool, B. and Hirsh, R. "Beyond batteries: an examination of the benefits and barriers to PHEVs and a V2G transition"
annual revenue for V2G ancillary services (grid regulation) $4000/vehicle
** cost savings dependent on electricity pricing - current avg 110 c/L for gas, 8.0 c/kWh off peak (CAD)
| ghg emission reductions |  | assuming 50% penetration, reduces GHG emissions by 27%
| petroleum displacement |  | up to 6.5 million boe/day
| benefits to grid |  | cars can serve as distributed generators
storage support - particularly for wind when generation at night corresponds with typical charge time
| base msrp | est. tax credit | body type | seats | epa range (elec only) | battery size | charge rate | [16 empty] | http://www.plugincars.com/cars
cadillac ELR | 76000 | 7500 | coupe | 4 | 59.5456 | 17 | 3.3
chevy volt | 35200 | 7500 | sedan | 4 | 61.1549 | 17 | 3.3
ford c-max energi | 32600 | 3700 | wagon | 5 | 32.1868 | 8 | 3.3
ford fusion energi | 35600 | 3700 | sedan | 5 | 32.1868 | 7 | 3.3
honda accord PH | 40700 | 3700 | sedan | 2 | 20.9214 | 7 | 6.6
porsche cayenne s e-hybrid | 78000 | 5300 | SUV | 5 | 22.5308 | 11 | 3.6
porsche panamera s e-hybrid | 100000 | 4700 | SUV | 4 | 24.1401 | 9 | 3
toyota prius PH | 30800 | 2500 | sedan | 5 | 17.7027 | 4 | 3.3
-- hybrid buses | cost premium avg 200 000 (~500 000 compared to 300 000) - mostly offset by govt | [22 empty] | "Hybrid Buses Costs and Benefits" EESI
30% ghg reduction
37% improvement in fuel economy
88% improvement in fuel efficiency
O&M (inc. fuel) costs 15% lower
| orion VII can carry average 51 passengers at peak times - vehicle displacement? | [22 empty] | https://www.ttc.ca/Routes/General_Information/General_Information.jsp
Note on V4: Madeleine: Note: the operating reserve coefficient is a fraction of generation in Nils' paper
Note on B74: Madeleine: Need to get real values here

## modeled attributes
Non-vre technology assumptions
| Cost - related Technology Characteristics |  | Operating Characteristics |  | Ramping Characteristics
col. | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp limit | shut down ramp limit
| [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 54 |  | 24 | 12 | 0.1 | -0.1
Natural gas
NG_CC | 66 |  | 8 | 4 | 0.25 | -0.25
NG_CT | 26 |  | 1 | 1 | 1 | -1
NG_CG | 26 |  | 1 | 1 | 1 | -1
diesel |  |  | 1 | 1 | 0.25 | -0.25
fuel oil |  |  | 1 | 1 | 0.25 | -0.25
nuclear | 55 |  | 168 | 24 | 0.01 | -0.01
hydro |  |  |  |  | 1 | -1
hydro_hourly |  |  |  |  | 1 | -1
hydro_daily |  |  |  |  | 1 | -1
hydro_monthly |  |  |  |  | 1 | -1
geothermal
biomass | 54 |  | 8 | 6 | 0.05 | -0.05
biogas | 54 |  | 8 | 6 | 0.05 | -0.05
wind
solar
PHS | 0 | 0 | 1 | 1 | 1 | -1
CAES
battery
EV
importexport
Imports
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)
MW At Marginal Cost

## modeled attributes1
Non-vre technology assumptions
| Cost - related Technology Characteristics |  | Operating Characteristics |  | Ramping Characteristics
col. | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp limit | shut down ramp limit
| [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 54 |  |  | 8 | 1 | -1 | 0.33 | 0.33
Natural gas |  |  |  |  | 0 | 0
NG_CC | 66 |  |  | 2 | 1 | -1 | 0.29 | 0.29
NG_CT | 26
NG_CG | 26
diesel
fuel oil | [8 empty] | *these constraints cause OPF to not solve
nuclear | 55 |  |  | 10 | 1 | -1 | 0.05 | 0.05
hydro
hydro_hourly
hydro_daily
hydro_monthly
geothermal
biomass | 54 |  |  | 8 | 1 | -1 | 0 | 0
biogas | 54 |  |  | 8 | 1 | -1 | 0 | 0
wind
solar
PHS | 0 | 0 | 1 | 1 | 1 | -1 | 1 | -1
CAES
battery
EV
importexport
Imports
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)
* These are all constraints that apply to UC but not OPF that are causing problems in the second OPF…
| Tried: | applying tighter constraints on the second OPF problem
removing these columns (start up cost, shut down cost, ramp rate max, ramp rate min…) from second OPF generators.csv file
The error also occurs when there are no ramp rate limitations (above), but when the nuclear assets installed capacity is reduced by a factor of 10 (i.e. Bruce goes from 5000 to 500 MW)
Perhaps there is actually a transmission issue, where one (or all) of the nuclear plants have to be on in order for the transmission system to work…
Note that changing the costs could solve this problem, as reducing the Halton Hills cost in the IESO calibration run, solved the OPF problem, by displacing some of the small hydro
MW At Marginal Cost

## scenario analysis
Scenario analysis inputs
|  | Installed Capacity Metric | Flexibility Factor Metric | Investment Cost |  | Transmission network capacity metric |  |  |  |  | VRE Resrouce Metric
col. | Installed capacity by type | Max capacity value | Operating reserve coeff. | Total overnight cost in 2014 | Cost | bus number | total installed capacity on bus | fraction of load on bus | total transmission capacity to/from bus | transmission line cost | bus number | Proposed wind capacity | Proposed multi c-Si solar capacity | Proposed mono c-Si solar capacity | Proposed thin film solar capacity
| [MW] | [fraction of installed capacity] | [fraction on installed capacity] | [$/kW installed] | [$] |  | [MW] | [percentage] | [MW] |  |  | [MW] | [MW] | [MW] | [MW]
coal | 466 | 1 | 0.53 | 2917 | 1359322000 | NW_falls_g | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
Natural gas | 0 | 1 | 0 | 0 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
NG_CC | 388 | 1 | 0.53 | 671 | 260348000 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
NG_CT | 0 | 1 | 1 | 968 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
NG_CG | 28 | 1 | 1 | 968 | 27104000 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
diesel | 500 | 1 | 0.86 | 0 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
fuel oil | 0 | 1 | 0.86 | 0 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
nuclear | 0 | 1 | 0.2 | 5366 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
hydro | 0 | 1 | 0.66 | 2651 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
hydro_hourly | 0 | 1 | 0.66 | 2651 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
hydro_daily
hydro_monthly
geothermal
biomass
biomass
Imports | 0 | [5 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
wind | 2940 | 0.2 | 0 | 19.8 | 58212000 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
solar PV | 0 | 0.6 | 0 | 3279 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
PHS | 0 | 0.5 | 1 | 1000 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
batteries | 0 | 0.5 | 1 | 1500 | 0 |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
EV | 0 | #N/A | #N/A | #N/A | #N/A |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
Col number |  | 1 | 2 |  |  |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
Notes: | [6 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
|  | #N/A | #N/A |  |  |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
|  | 24470 | 16022.5421 |  |  |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
|  | #N/A | #N/A |  |  |  | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | #REF! | #REF! |  | 0 | 0 | 0 | 0
Note on L4: Madeleine:

## vre plants
plant ID | name | kind | latitude | longitude | [MW] | [MW]- org | bus | technology type | unit capacity [kW] | latitude_MERRA | longitude_MERRA
Wind | Wind1 | wind_onshore | 47.5071 | -66.4135 | 990 | 99 | Bathurst Terminal /Bathurst Substation 6432 | FS395 | 3075 | 275 | 170
Wind | Wind2 | wind_onshore | 45.8194 | -64.8894 | 1500 | 150 | Salisbury Terminal | FS395 | 3075 | 272 | 173 | Bathurst Terminal /Bathurst Substation 6432
Wind | Wind3 | wind_onshore | 47.8494 | -64.6187 | 450 | 45 | Bathurst Terminal /Bathurst Substation 6432 | FS395 | 3075 | 276 | 173 | Belledune Terminal
Coleson Cove GS
Eel River Terminal
Highbank Terminal
Iroquois Terminal
Keswick Terminal
Mactaquac GS
Millbank GS
Newcastle Terminal
Norton Terminal
Point Lepreau GS
Salisbury Terminal
St. André Terminal
Stone Con. Substation 5445

## non-vre plants
plant ID | name | kind | cost curve equation | pmin | [MW] | bus | initial power | initial status | hours in status | storage content | initial power | initial status | hours in status | storage content | cascade group name | number | min storage | max storage | min water discharge | max water discharge | h factor | efficiency
biomass_1 | biomass_1 | biomass | 100P | 4 | 21 | Iroquois Terminal
biomass_2 | biomass_2 | biomass | 100P | 8 | 42 | Newcastle Terminal
biomass_3 | biomass_3 | biomass | 100P | 6 | 29.7 | Coleson Cove GS
biomass_4 | biomass_4 | biomass | 100P | 8 | 38 | Iroquois Terminal
coal_1 | coal_1 | coal | 104P | 0 | 466 | Belledune Terminal
diesel_1 | diesel_1 | diesel | 323.7P | 0 | 396 | Highbank Terminal
diesel_5 | diesel_5 | diesel | 323.7P | 0 | 5 | Point Lepreau GS
diesel_6 | diesel_6 | diesel | 323.7P | 0 | 99 | Bathurst Terminal /Bathurst Substation 6432
NG_CC_1 | NG_CC_1 | NG_CC | 75.5P | 58 | 290 | Coleson Cove GS
NG_CC_2 | NG_CC_2 | NG_CC | 75.5P | 10 | 49 | Coleson Cove GS
NG_CC_3 | NG_CC_3 | NG_CC | 75.5P | 10 | 49 | Coleson Cove GS
NG_CG_0 | NG_CG_1 | NG_CG | 136.5P | 6 | 28 | Iroquois Terminal
nuclear_1 | nuclear_1 | nuclear | 12.P | 0 | 660 | Point Lepreau GS
fuel oil_1 | fuel oil_1 | fuel oil | 323.7P | 0 | 972 | Coleson Cove GS
hydro_daily_1 | hydro_daily_1 | hydro_daily | 3.3P | 0 | 177 | St. André Terminal
hydro_daily_2 | hydro_daily_2 | hydro_daily | 3.3P | 0 | 666 | Keswick Terminal
hydro_daily_3 | hydro_daily_3 | hydro_daily | 3.3P | 0 | 10 | St. André Terminal
hydro_daily_4 | hydro_daily_4 | hydro_daily | 3.3P | 0 | 10 | St. André Terminal
hydro_hourly_1 | hydro_hourly_1 | hydro_hourly | 3.3P | 0 | 3 | Iroquois Terminal
hydro_hourly_2 | hydro_hourly_2 | hydro_hourly | 3.3P | 0 | 5 | Iroquois Terminal
hydro_hourly_3 | hydro_hourly_3 | hydro_hourly | 3.3P | 0 | 4 | Point Lepreau GS
hydro_hourly_4 | hydro_hourly_4 | hydro_hourly | 3.3P | 0 | 11 | Bathurst Terminal /Bathurst Substation 6432
hydro_hourly_5 | hydro_hourly_5 | hydro_hourly | 3.3P | 0 | 9 | St. André Terminal
hydro_hourly_6 | hydro_hourly_6 | hydro_hourly | 3.3P | 0 | 15 | Keswick Terminal
hydro_hourly_7 | hydro_hourly_7 | hydro_hourly | 3.3P | 0 | 35 | St. André Terminal
importexport_1 | importexport_1 | importexport | 0P | 0 | 1 | Point Lepreau GS
importexport_2 | importexport_2 | importexport | 0P | 0 | 1 | Keswick Terminal
importexport_3 | importexport_3 | importexport | 0P | 0 | 1 | Eel River Terminal
importexport_4 | importexport_4 | importexport | 0P | 0 | 1 | Salisbury Terminal
importexport_5 | importexport_5 | importexport | 0P | 0 | 1 | Salisbury Terminal

## storage
plant ID | name | kind | pmin | [MW] | storagecapacitymax | pumprampmax | resevoir level | bus | cost curve equation | initial power | initial status | hours in status | storage content

## EV_aggregator
plant ID | name | kind | [MW] | storagecapacitymax | pumprampmax | unpluggedhours | tripenergy | bus | initial power | initial status | hours in status | storage content | cost curve equation | pmin

## demand response
index | 1 | 2
| initial status | hours in status
initial values | 0 | 0
constraint:
| over-production | under-production
maximum hourly dr limit (% of schedule) | 130% | 70%
| maximum | minimum
absolute hourly dr limit (MW) | 6000 | 2
maximum
maximum daily dr (MW) | 144000
| increasing_shed | decreasing_shed
ramping limiatations (MW) | 1000 | -1000
| uptime | downtime
minimum up/down times (hours) | 1 | 1

## demand centres
city | frac pop | bus | dr_potential | region
No_1 | 50% | Bathurst Terminal /Bathurst Substation 6432 | 0.0525 | Gloucester
No_2 | 50% | Belledune Terminal | 0.0525 | Gloucester
No_3 | 100% | Coleson Cove GS | 0.099 | Saint John
No_4 | 100% | Eel River Terminal | 0.042 | Restigouche
No_5 | 50% | Highbank Terminal | 0.03005 | Northumberland
No_6 | 100% | Iroquois Terminal | 0.043 | Madawaska
No_7 | 100% | Keswick Terminal | 0.133 | York
No_8 | 100% | Mactaquac GS | 0.035 | Carleton
No_9 | 50% | Millbank GS | 0.0245 | Kent
No_10 | 50% | Newcastle Terminal | 0.0245 | Kent
No_11 | 100% | Norton Terminal | 0.0922 | Kings
No_12 | 100% | Norton Terminal | 0.014 | Queens
No_13 | 100% | Norton Terminal | 0.037 | Sunbury
No_14 | 100% | Point Lepreau GS | 0.034 | Charlotte
No_15 | 100% | Salisbury Terminal | 0.039 | Albert
No_16 | 100% | Salisbury Terminal | 0.2002 | Westmorland
No_17 | 100% | St. André Terminal | 0.025 | Victoria
No_18 | 50% | Stone Con. Substation 5445 | 0.03005 | Northumberland

## existing transmission
name | from bus | to bus | Voltage | length | pmax | reactance-old | reactance
Line_1 | Salisbury Terminal | Keswick Terminal | 230 | 147 |  | 58.8 | 0.0588
Line_2 | Keswick Terminal | Newcastle Terminal | 230 | 145 |  | 58 | 0.058
Line_3 | Eel River Terminal | Bathurst Terminal /Bathurst Substation 6432 | 230 | 85.9 |  | 34.36 | 0.03436
Line_4 | Bathurst Terminal /Bathurst Substation 6432 | Highbank Terminal | 230 | 64.2 |  | 25.68 | 0.02568
Line_5 | Millbank GS | Highbank Terminal | 230 | 12.8 |  | 5.12 | 0.00512
Line_6 | Highbank Terminal | Newcastle Terminal | 230 | 10 |  | 4 | 0.004
Line_7 | Bathurst Terminal /Bathurst Substation 6432 | Stone Con. Substation 5445 | 230 | 3.7 |  | 1.48 | 0.00148
Line_8 | Bathurst Terminal /Bathurst Substation 6432 | Salisbury Terminal | 345 | 225 |  | 67.5 | 0.0675
Line_9 | St. André Terminal | Keswick Terminal | 345 | 160 |  | 48 | 0.048
Line_10 | St. André Terminal | Eel River Terminal | 345 | 141 |  | 42.3 | 0.0423
Line_11 | Point Lepreau GS | Mactaquac GS | 345 | 135 |  | 40.5 | 0.0405
Line_12 | Coleson Cove GS | Mactaquac GS | 345 | 116.7 |  | 35.01 | 0.03501
Line_13 | Norton Terminal | Coleson Cove GS | 345 | 95.9 |  | 28.77 | 0.02877
Line_14 | Salisbury Terminal | Norton Terminal | 345 | 75 |  | 22.5 | 0.0225
Line_15 | Belledune Terminal | Bathurst Terminal /Bathurst Substation 6432 | 345 | 48.6 |  | 14.58 | 0.01458
Line_16 | Eel River Terminal | Belledune Terminal | 345 | 47.3 |  | 14.19 | 0.01419
Line_17 | Iroquois Terminal | St. André Terminal | 345 | 40 |  | 12 | 0.012
Line_18 | Coleson Cove GS | Point Lepreau GS | 345 | 28.8 |  | 8.64 | 0.00864
Line_19 | Mactaquac GS | Keswick Terminal | 345 | 14 |  | 4.2 | 0.0042
Line_20 | Mactaquac GS | Keswick Terminal | 345 | 14 |  | 4.2 | 0.0042

## modeled attributes _original
Non-vre technology assumptions
| Cost - related Technology Characteristics |  |  | Operating Characteristics |  | Ramping Characteristics
col. | cost curve equation | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp | shut down ramp
| [$/ MBTU] | [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 0.00888P + 10000 | 105 | 0 | 3 | 3 | 120 | -120 | 0.1 | -0.1
Natural gas | 0P + 10000 |  | 0 | 4 | 3
NG_CC | 0.01439P + 10000 | 79 | 0 | 4 | 3 | 300 | -300 | 0.25 | -0.25
NG_CT | 0.02403P + 10000 | 103 | 0 | 4 | 3 | 480 | -480 | 2 | -2
NG_CG | 0.02403P + 10000 | 103 | 0 | 4 | 3 | 480 | -480 | 2 | -2
diesel | 0.08441P + 10000 | 10000000 | 0
fuel oil | 0.05064P + 10000 | 10000000 | 0
nuclear | 0.00346P + 10000 | 500 | 0 | 10 | 3 | 3 |  | 0.076923 | -0.076923
hydro | 0.00188P + 10000
hydro_hourly | 0.00188P + 10000
wind | 0P
solar | 0P
PHS | 0P + 0 | 0 | 0
CAES | 0P + 0 | 0 | 0
battery | 0P + 0 | 0 | 0
EV | 0P + 0 | 0 | 0
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)

## lists
USER: do not alter this sheet
VRE generation types | Wind | Solar
| wind_onshore | multi_c_Si
| wind_offshore | thin_film
mono_c_Si
Technologies | wind_onshore | wind_offshore | multi_c_Si | thin_film | mono_c_Si
| V_112-3.0 | V_112-3.0 | TSM-PDG5-255 | FS395 | CS6V-225MM
|  |  | CHSM_6610P_250 | FS935
|  |  | CS6X_320P | FS4122_2