## non-vre plants (3)
plant ID | name | kind | cost curve equation | pmin | [MW] | bus | initial power | initial status | hours in status | storage content | initial status | hours in status | storage content | cascade group name | number | min storage | max storage | min water discharge | max water discharge | h factor | efficiency
fuel oil_1 | fuel oil_1 | fuel oil | 172P | 0 | 490 | HOL - Holyrood
hydro_daily_1 | hydro_daily_1 | hydro_daily | 6.4P | 0 | 22 | EXP - Exploits
hydro_daily_10 | hydro_daily_10 | hydro_daily | 6.4P | 0 | 68.5 | CAM - Cat Arm
hydro_daily_11 | hydro_daily_11 | hydro_daily | 6.4P | 0 | 68.5 | CAM - Cat Arm
hydro_daily_12 | hydro_daily_12 | hydro_daily | 6.4P | 0 | 125.5 | DLK - Deer Lake
hydro_daily_21 | hydro_daily_21 | hydro_daily | 6.4P | 0 | 75 | EXP - Exploits
hydro_daily_27 | hydro_daily_27 | hydro_daily | 6.4P | 0 | 75 | DLK - Deer Lake
hydro_daily_28 | hydro_daily_28 | hydro_daily | 6.4P | 0 | 8 | WAV - Western Avalon
hydro_daily_29 | hydro_daily_29 | hydro_daily | 6.4P | 0 | 4 | CAM - Cat Arm
hydro_daily_30 | hydro_daily_30 | hydro_daily | 6.4P | 0 | 18 | BUC - Buchans
hydro_daily_31 | hydro_daily_31 | hydro_daily | 6.4P | 0 | 9 | DLK - Deer Lake
hydro_monthly_1 | hydro_monthly_1 | hydro_monthly | 6.4P | 0 | 613 | BDE - Bay Despoir
hydro_monthly_8 | hydro_monthly_8 | hydro_monthly | 6.4P | 0 | 5429 | CFP - Churchill Falls
hydro_monthly_19 | hydro_monthly_19 | hydro_monthly | 6.4P | 0 | 40 | GRC - Granite Canal
hydro_monthly_20 | hydro_monthly_20 | hydro_monthly | 6.4P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_21 | hydro_monthly_21 | hydro_monthly | 6.4P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_22 | hydro_monthly_22 | hydro_monthly | 6.4P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_23 | hydro_monthly_23 | hydro_monthly | 6.4P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_26 | hydro_monthly_26 | hydro_monthly | 6.4P | 0 | 84 | USL - Upper Salmon
hydro_hourly_1 | hydro_hourly_1 | hydro_hourly | 6.4P | 0 | 21 | HWD - Hardwoods
hydro_hourly_6 | hydro_hourly_6 | hydro_hourly | 6.4P | 0 | 5.8 | STV - Stephenville
hydro_hourly_7 | hydro_hourly_7 | hydro_hourly | 6.4P | 0 | 10.5 | STV - Stephenville
hydro_hourly_8 | hydro_hourly_8 | hydro_hourly | 6.4P | 0 | 1.1 | WAV - Western Avalon
hydro_hourly_9 | hydro_hourly_9 | hydro_hourly | 6.4P | 0 | 4.3 | WAV - Western Avalon
hydro_hourly_10 | hydro_hourly_10 | hydro_hourly | 6.4P | 0 | 32 | CAM - Cat Arm
hydro_hourly_18 | hydro_hourly_18 | hydro_hourly | 6.4P | 0 | 6 | STV - Stephenville
hydro_hourly_19 | hydro_hourly_19 | hydro_hourly | 6.4P | 0 | 6.3 | STY - Stony Brook
hydro_hourly_20 | hydro_hourly_20 | hydro_hourly | 6.4P | 0 | 3.6 | BDE - Bay Despoir
hydro_hourly_21 | hydro_hourly_21 | hydro_hourly | 6.4P | 0 | 11 | BBK - Bottom Brook
NG_CG_1 | NG_CG_1 | NG_CG | 82P | 10 | 20 | HWD - Hardwoods
NG_CG_2 | NG_CG_2 | NG_CG | 82P | 25 | 50 | HWD - Hardwoods
NG_CG_3 | NG_CG_3 | NG_CG | 82P | 62 | 123.5 | HOL - Holyrood
NG_CG_4 | NG_CG_4 | NG_CG | 82P | 14 | 27 | CFP - Churchill Falls
NG_CG_5 | NG_CG_5 | NG_CG | 82P | 3 | 6.5 | STV - Stephenville
NG_CG_6 | NG_CG_6 | NG_CG | 82P | 25 | 50 | STV - Stephenville
NG_CG_7 | NG_CG_7 | NG_CG | 82P | 4 | 8 | STY - Stony Brook
diesel_1 | diesel_1 | diesel | 288P | 0 | 5 | CAM - Cat Arm
diesel_2 | diesel_2 | diesel | 288P | 0 | 12 | HOL - Holyrood
diesel_3 | diesel_3 | diesel | 288P | 0 | 11.7 | CFP - Churchill Falls
diesel_4 | diesel_4 | diesel | 288P | 0 | 9.7 | CAM - Cat Arm
diesel_5 | diesel_5 | diesel | 288P | 0 | 11 | LHB - Long Harbour
biomass_1 | biomass_1 | biomass | 40P | 7 | 17.6 | DLK - Deer Lake

## non-vre plants
plant ID | name | kind | cost curve equation | pmin | [MW] | bus | initial power | initial status | hours in status | storage content | initial status | hours in status | storage content | cascade group name | number | min storage | max storage | min water discharge | max water discharge | h factor | efficiency
fuel oil_1 | fuel oil_1 | fuel oil | 323.7P | 0 | 490 | HOL - Holyrood
hydro_daily_1 | hydro_daily_1 | hydro_daily | 3.3P | 0 | 22 | EXP - Exploits
hydro_daily_2 | hydro_daily_2 | hydro_daily | 3.3P | 0 | 68.5 | CAM - Cat Arm
hydro_daily_3 | hydro_daily_3 | hydro_daily | 3.3P | 0 | 68.5 | CAM - Cat Arm
hydro_daily_4 | hydro_daily_4 | hydro_daily | 3.3P | 0 | 125.5 | DLK - Deer Lake
hydro_daily_5 | hydro_daily_5 | hydro_daily | 3.3P | 0 | 75 | EXP - Exploits
hydro_daily_6 | hydro_daily_6 | hydro_daily | 3.3P | 0 | 75 | DLK - Deer Lake
hydro_daily_7 | hydro_daily_7 | hydro_daily | 3.3P | 0 | 8 | WAV - Western Avalon
hydro_daily_8 | hydro_daily_8 | hydro_daily | 3.3P | 0 | 4 | CAM - Cat Arm
hydro_daily_9 | hydro_daily_9 | hydro_daily | 3.3P | 0 | 18 | BUC - Buchans
hydro_daily_10 | hydro_daily_10 | hydro_daily | 3.3P | 0 | 9 | DLK - Deer Lake
hydro_monthly_1 | hydro_monthly_1 | hydro_monthly | 3.3P | 0 | 613 | BDE - Bay Despoir
hydro_monthly_2 | hydro_monthly_2 | hydro_monthly | 3.3P | 0 | 5429 | CFP - Churchill Falls
hydro_monthly_3 | hydro_monthly_3 | hydro_monthly | 3.3P | 0 | 40 | GRC - Granite Canal
hydro_monthly_4 | hydro_monthly_4 | hydro_monthly | 3.3P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_5 | hydro_monthly_5 | hydro_monthly | 3.3P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_6 | hydro_monthly_6 | hydro_monthly | 3.3P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_7 | hydro_monthly_7 | hydro_monthly | 3.3P | 0 | 206 | TS2 - Muskrat Falls
hydro_monthly_8 | hydro_monthly_8 | hydro_monthly | 3.3P | 0 | 84 | USL - Upper Salmon
hydro_hourly_1 | hydro_hourly_1 | hydro_hourly | 3.3P | 0 | 21 | HWD - Hardwoods
hydro_hourly_2 | hydro_hourly_2 | hydro_hourly | 3.3P | 0 | 5.8 | STV - Stephenville
hydro_hourly_3 | hydro_hourly_3 | hydro_hourly | 3.3P | 0 | 10.5 | STV - Stephenville
hydro_hourly_4 | hydro_hourly_4 | hydro_hourly | 3.3P | 0 | 1.1 | WAV - Western Avalon
hydro_hourly_5 | hydro_hourly_5 | hydro_hourly | 3.3P | 0 | 4.3 | WAV - Western Avalon
hydro_hourly_6 | hydro_hourly_6 | hydro_hourly | 3.3P | 0 | 32 | CAM - Cat Arm
hydro_hourly_7 | hydro_hourly_7 | hydro_hourly | 3.3P | 0 | 6 | STV - Stephenville
hydro_hourly_8 | hydro_hourly_8 | hydro_hourly | 3.3P | 0 | 6.3 | STY - Stony Brook
hydro_hourly_9 | hydro_hourly_9 | hydro_hourly | 3.3P | 0 | 3.6 | BDE - Bay Despoir
hydro_hourly_10 | hydro_hourly_10 | hydro_hourly | 3.3P | 0 | 11 | BBK - Bottom Brook
NG_CG_1 | NG_CG_1 | NG_CG | 136.5P | 4 | 20 | HWD - Hardwoods | 10 | 1
NG_CG_2 | NG_CG_2 | NG_CG | 136.5P | 10 | 50 | HWD - Hardwoods | 25 | 1
NG_CG_3 | NG_CG_3 | NG_CG | 136.5P | 25 | 123.5 | HOL - Holyrood | 61.75 | 1
NG_CG_4 | NG_CG_4 | NG_CG | 136.5P | 5 | 27 | CFP - Churchill Falls | 13.5 | 1
NG_CG_5 | NG_CG_5 | NG_CG | 136.5P | 1 | 6.5 | STV - Stephenville | 3.25 | 1
NG_CG_6 | NG_CG_6 | NG_CG | 136.5P | 10 | 50 | STV - Stephenville | 25 | 1
NG_CG_7 | NG_CG_7 | NG_CG | 136.5P | 2 | 8 | STY - Stony Brook | 4 | 1
diesel_1 | diesel_1 | diesel | 323.7P | 0 | 5 | CAM - Cat Arm | 2.5 | 1
diesel_2 | diesel_2 | diesel | 323.7P | 0 | 12 | HOL - Holyrood | 6 | 1
diesel_3 | diesel_3 | diesel | 323.7P | 0 | 11.7 | CFP - Churchill Falls | 5.85 | 1
diesel_4 | diesel_4 | diesel | 323.7P | 0 | 9.7 | CAM - Cat Arm | 4.85 | 1
diesel_5 | diesel_5 | diesel | 323.7P | 0 | 11 | LHB - Long Harbour | 5.5 | 1
biomass_1 | biomass_1 | biomass | 100P | 7 | 17.6 | DLK - Deer Lake | 8.8 | 1

## modeled attributes
Non-vre technology assumptions
| Cost - related Technology Characteristics |  | Operating Characteristics |  | Ramping Characteristics
col. | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp limit | shut down ramp limit
| [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 54 |  | 24 | 12 | 0.1 | -0.1
Natural gas
NG_CC | 66 |  | 8 | 4 | 0.25 | -0.25
NG_CT | 26 |  | 1 | 1 | 1 | -1
NG_CG | 26 |  | 1 | 1 | 1 | -1
diesel |  |  | 1 | 1 | 0.25 | -0.25
fuel oil |  |  | 1 | 1 | 0.25 | -0.25
nuclear | 55 |  | 168 | 24 | 0.01 | -0.01
hydro |  |  |  |  | 1 | -1
hydro_hourly |  |  |  |  | 1 | -1
hydro_daily |  |  |  |  | 1 | -1
hydro_monthly |  |  |  |  | 1 | -1
geothermal
biomass | 54 |  | 8 | 6 | 0.05 | -0.05
biogas | 54 |  | 8 | 6 | 0.05 | -0.05
wind
solar
PHS | 0 | 0 | 1 | 1 | 1 | -1
CAES
battery
EV
importexport
Imports
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)
MW At Marginal Cost

## site independent
technology assumptions | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | [9 empty] | references colour coded
[8 empty] | estimated start up times (notice to full load) |  |  |  | cycling costs |  |  | research these value and add it here
non-vre sources | levelized capital cost | fixed o&m cost | variable o&m cost (inc. fuel) | transmission investment | total system LCOE | efficiency | GHG emissions | hot start | warm start | cold start | spin ramp rate | hot start | warm start | cold start | spinning cost | minimum up time | minimum down time | shut down cost | negative change in power for spinning unit | shut down ramp limit | Operating reserve coeff. | Max capacity value | Total overnight cost in 2014
| 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh |  | kg CO2e/MWh | hours |  |  | %/min | $/MW cap. |  |  | [$ per hour committed] | [hours] | [hours] |  |  |  | [Fraction of installed capacity] | [Fraction of installed capacity] | $/kW
coal | 60 | 4.2 | 30.3 | 1.2 | 95.6 | 0.32623 | 820 | 3 | 6.5 | 10 | 2 | 59 | 65 | 105 | 10000 | 3 | 3 | 0 |  |  | 0.53 | 1 | 2917 | "Levelized cost and levelized avoided cost of new generation resources in the Annual Energy Outlook 2014" US Energy Information Administration
Natural gas | [14 empty] | 10000 | 4 | 3 | 0 |  |  |  | 1 |  | "FAQ: What is the efficiency of different types of power plants?" US Energy Information Administration
NG_CC | 14.3 | 1.7 | 49.1 | 1.2 | 66.3 | 0.55 | 490 | 1 | 2 | 4 | 5 | 35 | 55 | 79 | 10000 | 4 | 3 | 0 |  |  | 0.53 | 1 | 671 |  | Table 8.1. Average Operating Heat Rate for Selected Energy Sources, 2003-2013. US Energy Information Administration
NG_CT | 40.2 | 2.8 | 82 | 3.4 | 128.4 | 0.35 | 530 | 0.5 | 0.5 | 0.5 | 8 | 32 | 126 | 103 | 10000 | 4 | 3 | 0 |  |  | 1 | 1 | 968 |  | Annual Energy Review 2010. Appendix F: Alternatives for Estimating Energy Consumption. Table F1. Conversion Efficiencies of noncombustible Renewable Energy Sources. US Energy Information Administration.
NG_CG | 40.2 | 2.8 | 82 | 3.4 | 128.4 | 0.35 | 530 | 0.5 | 0.5 | 0.5 | 8 | 32 | 126 | 103 | 10000 | 4 | 3 | 0 |  |  | 1 | 1 | 968
diesel | 8 | 2 | 288 |  |  | 0.31849 | 733 | [6 empty] | 10000000 | 10000 |  |  | 0 |  |  | 0.86 | 1
fuel oil | 8 | 2 | 172.8 |  |  | 0.31849 | 733 | [6 empty] | 10000000 | 10000 |  |  | 0 |  |  | 0.86 | 1
nuclear | 71.4 | 11.8 | 11.8 | 1.1 | 96.1 | 0.32654 | 12 | 1 |  | 13 | 5 |  |  | 500 | 10000 | 10 | 3 | 0 |  |  | 0.2 | 1 | 5366 | "Biomass Energy Economics" Pacific Energy Systems, Inc.
hydro | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651 | Climate Change 2014: Mitigation of Climate Change. Contribution of Working Group III to the Fifth Assessment Report of the Intergovernmental Panel on Climate Change. Annex III: Technology-specific cost and performance parameters. Table A.III.2 Emissions of selected electricity supply technologies
hydro_hourly | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
hydro_daily | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
hydro_monthly | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
geothermal | 34.2 | 12.2 | 0 | 1.4 | 47.9 | 0.16 | 38 | [7 empty] | 10000 | [5 empty] | 0.32 | 1 | 2448 | "Technical Assessment of the Operation of Coal and Gas Fired Plants" Report to the DECC
biomass | 47.4 | 14.5 | 39.5 | 1.2 | 102.6 | 0.23 | 230 | [7 empty] | 10000 | [5 empty] | 0.53 | 1 | 3659 | "the westinghouse pressurized water reactor nuclear power plant" Table 16-1 Estimated Startup Time in Hours Required by NSSS
biogas | 47.4 | 14.5 | 39.5 | 1.2 | 102.6 | 0.23 | 230 | [7 empty] | 10000 | [5 empty] | 0.53 | 1 | 3659 | http://www.powerauthority.on.ca/current-electricity-contracts/sc-cc
variable renewable energy sources | levelized capital cost | fixed o&m cost | variable o&m cost (inc. fuel) | transmission investment | total system LCOE | efficiency | [17 empty] | "Cost and Performance Data for Power Generation Technologies" Prepared for the National Renewable Energy Laboratory
| 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | given by power curves | [17 empty] | "Power Plant Cycling Costs" Prepared for the National Renewable Energy Laboratory
wind | 64.1 | 13 | 0 | 3.2 | 80.3 | [5 empty] | TRUE | [10 empty] | 20% | 19.8
wind - offshore | 175.4 | 22.8 | 0 | 5.8 | 204.1 | [17 empty] | 6154 | *(likely conservative) estimate based on the fact that simple cycle is less efficient
solar PV | 114.5 | 11.4 | 0 | 4.1 | 130 | [16 empty] | 60% | 3279 | Trends in GHG Emissions in the Alberta Electricity Market
solar thermal | 195 | 42.1 | 0 | 6 | 243.1 | [17 empty] | 4052
diesel costs: Lazard LCOE version 8.0
balancing technologies | [23 empty] | assumed fuel oil costs are ~60% of diesel costs based on http://asian-power.com/regulation/commentary/reducing-diesel-power-plant-hfo-bill
"Comparison of Lifecycle Greenhouse Gas Emissions of Various Electricity Generation Sources" WNA
storage | capital cost power | capital cost capacity | annual operating costs | efficiency | applicable grid system size (MW) |  | storage capacity (kWh) |  | charge rate | discharge rate
| (avg) $/kW | (avg) $/kWh | $/kWyr | (max) | min | max | min | max | kW | kW | [13 empty] | "Electricity Storage and Renewables for Island Power" IRENA 2012
PHS | 2500 | 175 | 5 | 0.85 | 200 | 5000 |  |  | 2002500 | 2002500 | [10 empty] | 1 | 50% | 1000 | Kousksou et al. "Energy storage: Applications and challenges" Solar Energy Materials & Solar Cells 2014
CAES | 900 | 100 | 5 | 0.6 | 3 | 400 |  |  | 175000 | 300000 | [10 empty] | 1 | 50% | 650 | "Energy Technology Perspectives" IEA 2014
FES | 3000 | 2250 | 15 | 0.95 | 0.1 | 200 | 1 | 25 | 200 | 200 | [13 empty] | Nils's Paper (Submitted to Energy Economics)
batteries | [20 empty] | 1 | 50% | 1500 | EIA AEO2015 Table 8.2" Cost and Performance characteristics of new central station electricity generating technologies
Pb-acid | 550 | 325 | 30 | 0.9 | 0 | 10 | 0.5 | 10 | 0.8 | 1.25 | [13 empty] | My storage paper with Nils (YSSP report)
Ni-Cd | 1000 | 1150 |  | 0.65 | 0 | 40
Na-S | 1500 | 187.5 | 15 | 0.9 | 0.05 | 8 |  |  | 50 | 50
Li-ion | 700 | 1000 | 25 | 0.95 | 0 | 10 | 0.5 | 10 | 1.1 | 5.25
vanadium | 2500 | 575 |  | 0.85 | 0.05 | 10 | 20 | 50
hydrogen | 1000 | 15 |  | 0.5 | 0.1 | 10 |  |  | 2.505
flow battery | 1600 | 575 | 30 | 0.85 | 0.025 | 10 | 20 | 50 | 12.5 | 15
capacitors | 400 | 1000 |  | 0.65 | 0 | 0.05
supercapacitors | 300 | 2000 |  | 0.95 | 0 | 0.3
SMES | 300 | 10000 |  | 0.95 | 0.1 | 10
thermal | 250 | 26.5 |  | 0.6 | 0 | 300
sector integration - transportation
EV |  |  |  | 0.9 | [16 empty] | 1 | 50%
demand response - shifting
[5 empty] | shreddability (%) | controllability (%) | acceptability (%) | S*P | [15 empty] | "Grid Integration of Aggregated Demand Response, Part 1: Load Availability Profiles and Constraints for the Western Interconnection." NREL
assume x% flexibility - user input |  |  | commercial
assume different flexibilities during different hours |  |  | - cooling |  | 41-49 | 15-25 | 3-77 | 0.45*0.20=0.09 | summer = 9% | cooling peaks from 12-8pm
|  |  | - heating |  | 46-51 | 10-25 | 0-77 | g | winter = 8.6 % | heating peaks from 7-9 am
DR capacity = load * participation rate * sheddability |  |  | residential
participation = min (controllability, acceptability) |  |  | - cooling |  | 20-70 | 2-52 | 13-39 | 0.45*0.26=0.117 | summer = 8.35%
|  |  | - heating |  | 20-30 | 2-48 | 0-1.5 | 0.25*0.01=0.0025 | winter = 2.5%
lighting and ventilation are not easily shiftable! |  |  | - water heating |  | 25 | 13-26 | 13-39 | 0.25*0.20=0.05 |  | peaks 7am, 6pm
** would need demand data by sector |  |  | industrial |  | sheddability (%) | participation (%) | S*P | average |  | ind/mun fairly flat over day
divide year into heating/cooling, keep others year round |  |  | - agricultural water pumping |  | 100 | 10 | 10% | 6%
for multiple end uses, take average of shed * participation? |  |  | - data centres |  | 3 | 100 | 3%
for zeros, use a small non-zero number… |  |  | - regrigerated warehouses |  | 5 | 100 | 5%
for ranges, take midpoint? |  |  | municipal
|  |  | - fresh water pumping |  | 5 | 25 | 1.25%
|  |  | - waste water pumping |  | 5 | 25 | 1.25%
transmission
$ / kWh
- using existing lines | 0.009 | [22 empty] | AEO 2015 table 8
assumptions: aluminum conductor steel reinforced (ACSR), Tubular (230 kV)/Lattice (345 kV - 600 kV), >10 miles
- building new lines | $ / km | source gives in $/mile. 1 mile = 1.60934 km
-- 115 kV single circuit | 596331.4154 | [22 empty] | "Capital Costs for Transmission and Substations" prepared for the Western Electricity Coordinating Council
-- 115 kV double circuit | 954677.0726
-- 230 kV single circuit | 596331.4154
-- 230 kV double circuit | 954677.0726
-- 500 kV single circuit | 1192693.8994
-- 500 kV double circuit | 1908701.7038
-- 500 kV HVDC Bi-pole | 954677.0726
-- 600 kV HVDC Bi-pole | 1002398.4988
backup generation | depends on sources data
curtailment | output - last resort
sector integration - transportation
-- electric vehicles | base msrp | est. tax credit (US) | body type | seats | EPA range (miles conv to km) | batt size [kWh] | charge rate [kW] | [16 empty] | http://www.plugincars.com/cars
bmw i3 | 43300 | 7500 | sedan | 4 | 130.3565 | 22 | 6.6
chevrolet spark | 26000 | 7500 | coupe | 4 | 131.9659 | 19 | 3.3
fiat 500 e | 32600 | 7500 | sedan | 4 | 140.0126 | 24 | 6.6
ford focus electric | 30000 | 7500 | sedan | 5 | 122.3098 | 23 | 6.6
kia soul ev | 34500 | 7500 | sedan | 5 | 149.6686 | 27 | 6.6
mercedes B-class electric | 42400 | 7500 | sedan | 5 | 136.7939 | 28 | 10
mitsubishi i-MiEV | 23800 | 7500 | sedan | 4 | 99.7791 | 16 | 3.3
nissan LEAF | 29800 | 7500 | sedan | 5 | 135.1846 | 24 | 6.6
smart electric drive | 25700 | 7500 | coupe | 2 | 109.4351 | 17 | 3.3
tesla model s | 71000 | 7500 | sedan | 5 | 426.4751 | 85 | 10
volkswagen E-golf | 36300 | 7500 | sedan | 5 | 133.5752 | 24 | 7.2
tesla model X | 80000 | 7500 | SUV | 7 | 370.1482 | 85 | 10
-- comparison with gas vehicles | base msrp | no tax credits | body type | seats | fuel consumption (city/hwy/combined) [L/100km] | ghg emissions
smart | 14930 |  | coupe | 2 | 6.9/5.7/6.3 | 130g/km | [17 empty] | http://www.thesmart.ca/ca/en/index.html
fiat 500 | 16745 |  | sedan | 4 | 8.7/6.9 | [18 empty] | http://www.fiatcanada.com/en/2015/500/
ford focus | 17170 |  | sedan | 5 | 9.3/6.7/8.1 | [18 empty] | http://www.ford.ca/cars/focus/specifications/
ford explorer | 30700 |  | suv | 7 | 13.7/9.7 | [18 empty] | http://www.thesmart.ca/ca/en/index.html
[7 empty] | vehicle class | required battery size [kWh] | [15 empty] | "Impacts Assessment of PHEV on Electric Utilities and Regional US Power Grids Part 1: Technical Analysis" PNNL
--plug-in hybrid | assume average vehicle travels about 50 km/day - battery could easily displace fuel for such distance | [5 empty] | compact sedan | 8.6
[7 empty] | mid-size sedan | 9.9
[7 empty] | mid-size SUV | 12.5
[7 empty] | full-size SUV | 15.2
| costs |  | HEV cost premium avg $4000 | [20 empty] | Sovacool, B. and Hirsh, R. "Beyond batteries: an examination of the benefits and barriers to PHEVs and a V2G transition"
annual revenue for V2G ancillary services (grid regulation) $4000/vehicle
** cost savings dependent on electricity pricing - current avg 110 c/L for gas, 8.0 c/kWh off peak (CAD)
| ghg emission reductions |  | assuming 50% penetration, reduces GHG emissions by 27%
| petroleum displacement |  | up to 6.5 million boe/day
| benefits to grid |  | cars can serve as distributed generators
storage support - particularly for wind when generation at night corresponds with typical charge time
| base msrp | est. tax credit | body type | seats | epa range (elec only) | battery size | charge rate | [16 empty] | http://www.plugincars.com/cars
cadillac ELR | 76000 | 7500 | coupe | 4 | 59.5456 | 17 | 3.3
chevy volt | 35200 | 7500 | sedan | 4 | 61.1549 | 17 | 3.3
ford c-max energi | 32600 | 3700 | wagon | 5 | 32.1868 | 8 | 3.3
ford fusion energi | 35600 | 3700 | sedan | 5 | 32.1868 | 7 | 3.3
honda accord PH | 40700 | 3700 | sedan | 2 | 20.9214 | 7 | 6.6
porsche cayenne s e-hybrid | 78000 | 5300 | SUV | 5 | 22.5308 | 11 | 3.6
porsche panamera s e-hybrid | 100000 | 4700 | SUV | 4 | 24.1401 | 9 | 3
toyota prius PH | 30800 | 2500 | sedan | 5 | 17.7027 | 4 | 3.3
-- hybrid buses | cost premium avg 200 000 (~500 000 compared to 300 000) - mostly offset by govt | [22 empty] | "Hybrid Buses Costs and Benefits" EESI
30% ghg reduction
37% improvement in fuel economy
88% improvement in fuel efficiency
O&M (inc. fuel) costs 15% lower
| orion VII can carry average 51 passengers at peak times - vehicle displacement? | [22 empty] | https://www.ttc.ca/Routes/General_Information/General_Information.jsp
Note on V4: Madeleine: Note: the operating reserve coefficient is a fraction of generation in Nils' paper
Note on B74: Madeleine: Need to get real values here

## modeled attributes1
Non-vre technology assumptions
| Cost - related Technology Characteristics |  | Operating Characteristics |  | Ramping Characteristics
col. | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp limit | shut down ramp limit
| [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 54 |  |  | 8 | 1 | -1 | 0.33 | 0.33
Natural gas |  |  |  |  | 0 | 0
NG_CC | 66 |  |  | 2 | 1 | -1 | 0.29 | 0.29
NG_CT | 26
NG_CG | 26
diesel
fuel oil | [8 empty] | *these constraints cause OPF to not solve
nuclear | 55 |  |  | 10 | 1 | -1 | 0.05 | 0.05
hydro
hydro_hourly
hydro_daily
hydro_monthly
geothermal
biomass | 54 |  |  | 8 | 1 | -1 | 0 | 0
biogas | 54 |  |  | 8 | 1 | -1 | 0 | 0
wind
solar
PHS | 0 | 0 | 1 | 1 | 1 | -1 | 1 | -1
CAES
battery
EV
importexport
Imports
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)
* These are all constraints that apply to UC but not OPF that are causing problems in the second OPF…
| Tried: | applying tighter constraints on the second OPF problem
removing these columns (start up cost, shut down cost, ramp rate max, ramp rate min…) from second OPF generators.csv file
The error also occurs when there are no ramp rate limitations (above), but when the nuclear assets installed capacity is reduced by a factor of 10 (i.e. Bruce goes from 5000 to 500 MW)
Perhaps there is actually a transmission issue, where one (or all) of the nuclear plants have to be on in order for the transmission system to work…
Note that changing the costs could solve this problem, as reducing the Halton Hills cost in the IESO calibration run, solved the OPF problem, by displacing some of the small hydro
MW At Marginal Cost

## scenario analysis
Scenario analysis inputs
|  | Installed Capacity Metric | Flexibility Factor Metric | Investment Cost |  | Transmission network capacity metric |  |  |  |  | VRE Resrouce Metric
col. | Installed capacity by type | Max capacity value | Operating reserve coeff. | Total overnight cost in 2014 | Cost | bus number | total installed capacity on bus | fraction of load on bus | total transmission capacity to/from bus | transmission line cost | bus number | Proposed wind capacity | Proposed multi c-Si solar capacity | Proposed mono c-Si solar capacity | Proposed thin film solar capacity
| [MW] | [fraction of installed capacity] | [fraction on installed capacity] | [$/kW installed] | [$] |  | [MW] | [percentage] | [MW] |  |  | [MW] | [MW] | [MW] | [MW]
coal | #REF! | 1 | 0.53 | 2917 | #REF! | NW_falls_g | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
Natural gas | #REF! | 1 | 0 | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
NG_CC | #REF! | 1 | 0.53 | 671 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
NG_CT | #REF! | 1 | 1 | 968 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
NG_CG | #REF! | 1 | 1 | 968 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
diesel | #REF! | 1 | 0.86 | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
fuel oil | #REF! | 1 | 0.86 | 0 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
nuclear | #REF! | 1 | 0.2 | 5366 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
hydro | #REF! | 1 | 0.66 | 2651 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
hydro_hourly | #REF! | 1 | 0.66 | 2651 | #REF! |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
hydro_daily
hydro_monthly
geothermal
biomass
biogas
Imports | #REF! | [5 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
wind | 54 | 0.2 | 0 | 19.8 | 1069200 |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
solar PV | 0 | 0.6 | 0 | 3279 | 0 |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
PHS | 0 | 0.5 | 1 | 1000 | 0 |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
batteries | 0 | 0.5 | 1 | 1500 | 0 |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
EV | 0 | #N/A | #N/A | #N/A | #N/A |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
Col number |  | 1 | 2 |  |  |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
Notes: | [6 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
|  | #REF! | #REF! |  |  |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
|  | 24470 | 16022.5421 |  |  |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
|  | #REF! | #REF! |  |  |  | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
[7 empty] | #REF! | #REF! | #REF! | #REF! |  | 0 | 0 | 0 | 0
Note on L4: Madeleine:

## vre plants
plant ID | name | kind | latitude | longitude | [MW] | bus | technology type | unit capacity [kW] | latitude_MERRA | longitude_MERRA
Wind | Wind_1 | wind_onshore | 46.9699 | -52.97 | 27 | HWD - Hardwoods | V_112-3.0 | 3075 | 274 | 191
Wind | Wind_2 | wind_onshore | 46.95 | -55.4293 | 27 | BDE - Bay Despoir | V_112-3.0 | 3075 | 274 | 187

## storage
plant ID | name | kind | pmin | [MW] | storagecapacitymax | pumprampmax | resevoir level | bus | cost curve equation | initial power | initial status | hours in status | storage content

## EV_aggregator
plant ID | name | kind | [MW] | storagecapacitymax | pumprampmax | unpluggedhours | tripenergy | bus | initial power | initial status | hours in status | storage content | cost curve equation | pmin

## demand response
index | 1 | 2
| initial status | hours in status
initial values | 0 | 0
constraint:
| over-production | under-production
maximum hourly dr limit (% of schedule) | 130% | 70%
| maximum | minimum
absolute hourly dr limit (MW) | 6000 | 2
maximum
maximum daily dr (MW) | 144000
| increasing_shed | decreasing_shed
ramping limiatations (MW) | 1000 | -1000
| uptime | downtime
minimum up/down times (hours) | 1 | 1

## demand centres
city | frac pop | bus | dr_potential | region
Load_1 | 0.33 | BBK - Bottom Brook | 1.301% | Division No. 4
Load_2 | 0.33 | BDE - Bay Despoir | 0.9929% | Division No. 3
Load_3 | 0.5 | BUC - Buchans | 3.707% | Division No. 6
Load_4 | 1 | CAM - Cat Arm | 3.018% | Division No. 9
Load_5 | 0.125 | CBC - Comb by Chance | 6.534% | Division No. 1
Load_6 | 0.33 | CFP - Churchill Falls | 1.572% | Division No. 10
Load_7 | 0.5 | DLK - Deer Lake | 4.062% | Division No. 5
Load_8 | 0.5 | EXP - Exploits | 3.461% | Division No. 8
Load_9 | 0.33 | GRC - Granite Canal | 0.9929% | Division No. 3
Load_10 | 0.125 | HOL - Holyrood | 6.534% | Division No. 1
Load_11 | 0.125 | HWD - Hardwoods | 6.534% | Division No. 1
Load_12 | 0.33 | LBC - Labrador City | 1.572% | Division No. 10
Load_13 | 0.125 | LHB - Long Harbour | 6.534% | Division No. 1
Load_14 | 0.5 | MAS - Massey Drive | 4.062% | Division No. 5
Load_15 | 0.125 | OXP - Oxen Pond | 6.534% | Division No. 1
Load_16 | 0.125 | SLD - Soldiers Pond | 6.534% | Division No. 1
Load_17 | 0.33 | STV - Stephenville | 1.301% | Division No. 4
Load_18 | 0.33 | STX - Stephenville Crossing | 1.301% | Division No. 4
Load_19 | 0.5 | STY - Stony Brook | 3.707% | Division No. 6
Load_20 | 0.5 | STY - Stony Brook | 3.461% | Division No. 8
Load_21 | 0.125 | SUN - Sunnyside | 6.534% | Division No. 1
Load_22 | 1 | SUN - Sunnyside | 3.939% | Division No. 2
Load_23 | 1 | SUN - Sunnyside | 6.592% | Division No. 7
Load_24 | 0.33 | TS2 - Muskrat Falls | 1.572% | Division No. 10
Load_25 | 0.33 | USL - Upper Salmon | 0.9929% | Division No. 3
Load_26 | 0.125 | WAV - Western Avalon | 6.534% | Division No. 1

## existing transmission
name | from bus | to bus | voltage | circuits | length | pmax | reactance-old | reactance | line type | line cost
Line_1 | TS2 - Muskrat Falls | SLD - Soldiers Pond | 350 |  | 1100 |  | 330 | 0.33
Line_2 | TS2 - Muskrat Falls | SLD - Soldiers Pond | 350 |  | 1100 |  | 330 | 0.33
Line_3 | CFP - Churchill Falls | LBC - Labrador City | 230 |  | 245 |  | 98 | 0.098
Line_4 | CFP - Churchill Falls | LBC - Labrador City | 230 |  | 245 |  | 98 | 0.098
Line_5 | CFP - Churchill Falls | TS2 - Muskrat Falls | 345 |  | 250 |  | 75 | 0.075
Line_6 | CFP - Churchill Falls | TS2 - Muskrat Falls | 345 |  | 250 |  | 75 | 0.075
Line_7 | WAV - Western Avalon | HWD - Hardwoods | 230 |  | 104.6512 |  | 41.8605 | 0.04186
Line_8 | BDE - Bay Despoir | SUN - Sunnyside | 230 |  | 139.5349 |  | 55.814 | 0.055814
Line_9 | SUN - Sunnyside | SLD - Soldiers Pond | 230 |  | 100 |  | 40 | 0.04
Line_10 | STY - Stony Brook | BDE - Bay Despoir | 230 |  | 104.6512 |  | 41.8605 | 0.04186
Line_11 | BUC - Buchans | STY - Stony Brook | 230 |  | 81.3953 |  | 32.5581 | 0.032558
Line_12 | BDE - Bay Despoir | SUN - Sunnyside | 230 |  | 139.5349 |  | 55.814 | 0.055814
Line_13 | SUN - Sunnyside | CBC - Comb by Chance | 230 |  | 11.6279 |  | 4.6512 | 0.0046512
Line_14 | WAV - Western Avalon | LHB - Long Harbour | 230 |  | 23.2558 |  | 9.3023 | 0.0093023
Line_15 | BBK - Bottom Brook | STV - Stephenville | 230 |  | 29.0698 |  | 11.6279 | 0.011628
Line_16 | MAS - Massey Drive | BBK - Bottom Brook | 230 |  | 58.1395 |  | 23.2558 | 0.023256
Line_17 | WAV - Western Avalon | SLD - Soldiers Pond | 230 |  | 69.7674 |  | 27.907 | 0.027907
Line_18 | HOL - Holyrood | OXP - Oxen Pond | 230 |  | 34.8837 |  | 13.9535 | 0.013953
Line_19 | MAS - Massey Drive | BUC - Buchans | 230 |  | 110.4651 |  | 44.186 | 0.044186
Line_20 | STY - Stony Brook | BDE - Bay Despoir | 230 |  | 104.6512 |  | 41.8605 | 0.04186
Line_21 | BUC - Buchans | STY - Stony Brook | 230 |  | 81.3953 |  | 32.5581 | 0.032558
Line_22 | BBK - Bottom Brook | BUC - Buchans | 230 |  | 139.5349 |  | 55.814 | 0.055814
Line_23 | BDE - Bay Despoir | USL - Upper Salmon | 230 |  | 63.9535 |  | 25.5814 | 0.025581
Line_24 | STY - Stony Brook | EXP - Exploits | 230 |  | 11.6279 |  | 4.6512 | 0.0046512
Line_25 | OXP - Oxen Pond | HWD - Hardwoods | 230 |  | 17.4419 |  | 6.9767 | 0.0069767
Line_26 | CBC - Come by Chance | WAV - Western Avalon | 230 |  | 34.8837 |  | 13.9535 | 0.013953
Line_27 | STV - Stephenville | STX - Stephenville Crossing | 230 |  | 11.6279 |  | 4.6512 | 0.0046512
Line_28 | HOL - Holyrood | HWD - Hardwoods | 230 |  | 34.8837 |  | 13.9535 | 0.013953
Line_29 | DLK - Deer Lake | CAM - Cat Arm | 230 |  | 122.093 |  | 48.8372 | 0.048837
Line_30 | DLK - Deer Lake | MAS - Massey Drive | 230 |  | 52.3256 |  | 20.9302 | 0.02093
Line_31 | USL - Upper Salmon | GRC - Granite Canal | 230 |  | 69.7674 |  | 27.907 | 0.027907
Line_32 | SLD - Soldiers Pond | HOL - Holyrood | 230 |  | 5.814 |  | 2.3256 | 0.0023256
Line_33 | SLD - Soldiers Pond | HWD - Hardwoods | 230 |  | 34.8837 |  | 13.9535 | 0.013953
Line_34 | BDE - Bay Despoir | WAV - Western Avalon | 230 |  | 135 |  | 54 | 0.054
Line_35 | SLD - Soldiers Pond | HOL - Holyrood | 230 |  | 5.814 |  | 2.3256 | 0.0023256
Line_36 | BBK - Bottom Brook | GRC - Granite Canal | 230 |  | 155 |  | 62 | 0.062

## modeled attributes _original
Non-vre technology assumptions
| Cost - related Technology Characteristics |  |  | Operating Characteristics |  | Ramping Characteristics
col. | cost curve equation | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp | shut down ramp
| [$/ MBTU] | [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 0.00888P + 10000 | 105 | 0 | 3 | 3 | 120 | -120 | 0.1 | -0.1
Natural gas | 0P + 10000 |  | 0 | 4 | 3
NG_CC | 0.01439P + 10000 | 79 | 0 | 4 | 3 | 300 | -300 | 0.25 | -0.25
NG_CT | 0.02403P + 10000 | 103 | 0 | 4 | 3 | 480 | -480 | 2 | -2
NG_CG | 0.02403P + 10000 | 103 | 0 | 4 | 3 | 480 | -480 | 2 | -2
diesel | 0.08441P + 10000 | 10000000 | 0
fuel oil | 0.05064P + 10000 | 10000000 | 0
nuclear | 0.00346P + 10000 | 500 | 0 | 10 | 3 | 3 |  | 0.076923 | -0.076923
hydro | 0.00188P + 10000
hydro_hourly | 0.00188P + 10000
wind | 0P
solar | 0P
PHS | 0P + 0 | 0 | 0
CAES | 0P + 0 | 0 | 0
battery | 0P + 0 | 0 | 0
EV | 0P + 0 | 0 | 0
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)

## excel input instructions
*create dropdown list with these options
| Generating Plant IDs |  | Storage Plant IDs
| wind |  | PHS
| wind offshore |  | CAES
| solar PV multi c-Si |  | FES
| solar PV mono c-Si |  | Pb-acid
| solar PV thin film |  | Ni-Cd
| solar thermal |  | Na-S
| coal |  | Li-ion
| NG combined |  | vanadium
| NG simple |  | hydrogen
| diesel |  | flow battery
| fuel oil |  | capacitor
| nuclear |  | supercapacitor
| hydro |  | SMES
| geothermal |  | thermal
biomass
| Trina TSM-PDG5-255 | multi c-Si | TO DO: need to change 'vre plants' sheet so that the area [m^2] and # modules gets updated according to these values, given the module type
| nominal pwr at STC [Wp] | 255
| area | 1.688
| Canadian Solar CS6V-225MM | mono c-Si
| nominal pwr at STC [Wp] | 225
| area | 1.353
| First Solar FS395 | CdTe
| nominal pwr at STC [Wp] | 95
| area [m^2] | 0.72
Each unique node must be listed at least once in the 'existing transmission' sheet under the 'from bus' category
On the demand centres sheet, the dr_potential column needs to add to one. Also the dr_potential value for each city needs to be pro-rated by the percentage of load that that city consumes. The fomula in powersystems.py (Load constraints) for the second OPF is scheduled_load(time) - power(time) >= dr_3 (UC dr) *dr_potential for each city. As such if the dr_3*dr_potenail is greater than the scheduled_load value for that city in that hour, then the OPF would have to have a negative power value, which is obviously impossible, and so it fails.

## lists
USER: do not alter this sheet
VRE generation types | Wind | Solar
| wind_onshore | multi_c_Si
| wind_offshore | thin_film
mono_c_Si
Technologies | wind_onshore | wind_offshore | multi_c_Si | thin_film | mono_c_Si
| V_112-3.0 | V_112-3.0 | TSM-PDG5-255 | FS395 | CS6V-225MM
|  |  | CHSM_6610P_250 | FS935
|  |  | CS6X_320P | FS4122_2