## vre plants
plant ID | name | kind | latitude | longitude | [MW] | bus | technology type | unit capacity [kW] | latitude_MERRA | longitude_MERRA
Wind | Wind_1 | wind_onshore | 44.2044 | -81.4574 | 180 | Bruce A TS | V_112-3.0 | 3075 | 268 | 148
Wind | Wind_2 | wind_onshore | 43.4846 | -81.6282 | 93 | Bruce A TS | V_112-3.0 | 3075 | 267 | 148
Wind | Wind_3 | wind_onshore | 43.1128 | -81.7024 | 222 | Evergreen SS | V_112-3.0 | 3075 | 266 | 147
Wind | Wind_4 | wind_onshore | 44.2478 | -81.5714 | 19.5 | Bruce A TS | V_112-3.0 | 3075 | 268 | 148
Wind | Wind_5 | wind_onshore | 44.2134 | -80.2673 | 145 | Essa TS | V_112-3.0 | 3075 | 268 | 150
Wind | Wind_6 | wind_onshore | 44.1972 | -80.7005 | 22.4 | Bruce A TS | V_112-3.0 | 3075 | 268 | 149
Wind | Wind_7 | wind_onshore | 44.9465 | -81.2632 | 5.1 | Bruce A TS | V_112-3.0 | 3075 | 270 | 148
Wind | Wind_8 | wind_onshore | 43.2986 | -81.6144 | 102.4 | Bruce A TS | V_112-3.0 | 3075 | 267 | 148
Wind | Wind_9 | wind_onshore | 43.3937 | -81.6578 | 99.3 | Bruce A TS | V_112-3.0 | 3075 | 267 | 148
Wind | Wind_10 | wind_onshore | 44.0078 | -80.3556 | 60 | Bruce A TS | V_112-3.0 | 3075 | 268 | 149
Wind | Wind_14 | wind_onshore | 43.9373 | -81.6399 | 270 | Ashfield SS | V_112-3.0 | 3075 | 268 | 148
Wind | Wind_15 | wind_onshore | 43.8589 | -81.692 | 39.6 | Bruce A TS | V_112-3.0 | 3075 | 268 | 147
Wind | Wind_17 | wind_onshore | 44.0524 | -81.6558 | 76 | Bruce A TS | V_112-3.0 | 3075 | 268 | 148
Wind | Wind_19 | wind_onshore | 44.3416 | -81.4533 | 181.5 | Bruce A TS | V_112-3.0 | 3075 | 269 | 148
Wind | Wind_20 | wind_onshore | 42.8814 | -79.7879 | 149 | Longwood TS | V_112-3.0 | 3075 | 266 | 150
Wind | Wind_22 | wind_onshore | 42.7677 | -80.2521 | 10 | Middleport TS | V_112-3.0 | 3075 | 266 | 150
Wind | Wind_24 | wind_onshore | 42.8392 | -80.0274 | 104.4 | Middleport TS | V_112-3.0 | 3075 | 266 | 150
Wind | Wind_25 | wind_onshore | 42.87 | -79.9377 | 124.4 | Bruce A TS | V_112-3.0 | 3075 | 266 | 150
Wind | Wind_26 | wind_onshore | 42.2787 | -81.9917 | 119 | Longwood TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_27 | wind_onshore | 43.0828 | -82.0528 | 116.6 | Longwood TS | V_112-3.0 | 3075 | 266 | 147
Wind | Wind_28 | wind_onshore | 42.2743 | -82.1824 | 78 | Hanmer TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_29 | wind_onshore | 42.4776 | -82.3603 | 99 | Cherrywood TS | V_112-3.0 | 3075 | 265 | 146
Wind | Wind_30 | wind_onshore | 42.3011 | -82.0047 | 99 | Longwood TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_31 | wind_onshore | 42.3964 | -81.8657 | 108 | Hanmer TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_32 | wind_onshore | 42.5193 | -81.7571 | 10 | Longwood TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_34 | wind_onshore | 43.0184 | -81.7392 | 40 | Longwood TS | V_112-3.0 | 3075 | 266 | 147
Wind | Wind_35 | wind_onshore | 42.5613 | -82.2203 | 99.12 | Longwood TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_38 | wind_onshore | 42.3495 | -82.1071 | 270 | Longwood TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_40 | wind_onshore | 42.2638 | -82.2682 | 10 | Longwood TS | V_112-3.0 | 3075 | 265 | 147
Wind | Wind_42 | wind_onshore | 46.6615 | -84.3587 | 25.3 | Hanmer TS | V_112-3.0 | 3075 | 273 | 143
Wind | Wind_43 | wind_onshore | 46.6126 | -84.4792 | 189 | Hanmer TS | V_112-3.0 | 3075 | 273 | 143
Wind | Wind_44 | wind_onshore | 44.3085 | -80.3138 | 28.5 | Essa TS | V_112-3.0 | 3075 | 269 | 150
Wind | Wind_46 | wind_onshore | 45.8403 | -80.6316 | 300 | Parkway JCT | V_112-3.0 | 3075 | 272 | 149
Wind | Wind_47 | wind_onshore | 44.0197 | -78.581 | 36 | Cherrywood TS | V_112-3.0 | 3075 | 268 | 152
Wind | Wind_48 | wind_onshore | 43.8123 | -79.074 | 1.8 | Cherrywood TS | V_112-3.0 | 3075 | 268 | 151
Wind | Wind_51 | wind_onshore | 42.084 | -83.0425 | 10 | Longwood TS | V_112-3.0 | 3075 | 264 | 145
Wind | Wind_53 | wind_onshore | 42.0323 | -82.9618 | 45.6 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_54 | wind_onshore | 42.1941 | -82.8105 | 20 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_57 | wind_onshore | 42.2841 | -82.5284 | 48.6 | Longwood TS | V_112-3.0 | 3075 | 265 | 146
Wind | Wind_58 | wind_onshore | 42.1839 | -82.2851 | 202 | Longwood TS | V_112-3.0 | 3075 | 264 | 147
Wind | Wind_59 | wind_onshore | 42.2364 | -82.4566 | 10 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_60 | wind_onshore | 42.1521 | -82.489 | 60 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_61 | wind_onshore | 42.1269 | -82.6835 | 51 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_62 | wind_onshore | 42.2718 | -82.4882 | 10 | Longwood TS | V_112-3.0 | 3075 | 265 | 146
Wind | Wind_63 | wind_onshore | 42.2195 | -82.5614 | 166 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_64 | wind_onshore | 42.2496 | -82.6523 | 100 | Longwood TS | V_112-3.0 | 3075 | 264 | 146
Wind | Wind_65 | wind_onshore | 45.7291 | -82.295 | 5.5 | Hanmer TS | V_112-3.0 | 3075 | 271 | 147
Wind | Wind_67 | wind_onshore | 45.9355 | -81.9835 | 60 | Hanmer TS | V_112-3.0 | 3075 | 272 | 147
Wind | Wind_68 | wind_onshore | 44.9437 | -75.371 | 30 | Hawthorne TS | V_112-3.0 | 3075 | 270 | 157
Wind | Wind_69 | wind_onshore | 45.2195 | -75.1629 | 100 | Hawthorne TS | V_112-3.0 | 3075 | 270 | 157
Wind | Wind_70 | wind_onshore | 44.179 | -76.4725 | 197.8 | Lennox TS | V_112-3.0 | 3075 | 268 | 155
Wind | Wind_71 | wind_onshore | 44.1689 | -78.6293 | 10 | Cherrywood TS | V_112-3.0 | 3075 | 268 | 152
Wind | Wind_72 | wind_onshore | 44.228 | -76.7195 | 10 | Lennox TS | V_112-3.0 | 3075 | 268 | 155
Wind | Wind_73 | wind_onshore | 44.1522 | -76.7219 | 73 | Lennox TS | V_112-3.0 | 3075 | 268 | 155
Wind | Wind_74 | wind_onshore | 48.7606 | -88.7667 | 98.9 | Hanmer TS | V_112-3.0 | 3075 | 278 | 137
Wind | Wind_75 | wind_onshore | 47.2214 | -84.5235 | 57 | Hanmer TS | V_112-3.0 | 3075 | 274 | 143
Wind | Wind_77 | wind_onshore | 42.9993 | -79.5035 | 253 | Middleport TS | V_112-3.0 | 3075 | 266 | 151
Wind | Wind_78 | wind_onshore | 42.8978 | -79.3854 | 18.9 | Middleport TS | V_112-3.0 | 3075 | 266 | 151
Wind | Wind_80 | wind_onshore | 43.122 | -79.7108 | 9 | Middleport TS | V_112-3.0 | 3075 | 266 | 150
Wind | Wind_82 | wind_onshore | 42.9238 | -81.9063 | 14.1 | Longwood TS | V_112-3.0 | 3075 | 266 | 147
Wind | Wind_84 | wind_onshore | 42.6476 | -80.7695 | 129 | Middleport TS | V_112-3.0 | 3075 | 265 | 149
Wind | Wind_89 | wind_onshore | 43.0858 | -80.7142 | 18 | Middleport TS | V_112-3.0 | 3075 | 266 | 149
Wind | Wind_91 | wind_onshore | 42.9877 | -81.7068 | 60 | Longwood TS | V_112-3.0 | 3075 | 266 | 147
Wind | Wind_96 | wind_onshore | 43.7838 | -80.404 | 41 | Claireville TS | V_112-3.0 | 3075 | 268 | 149
Wind | Wind_98 | wind_onshore | 44.082 | -80.287 | 199.5 | Claireville TS | V_112-3.0 | 3075 | 268 | 150
Solar | Solar_1 | multi_c_Si | 44.5939 | -75.7354 | 10 | Bruce A TS | FS395 | 95 | 269 | 156
Solar | Solar_2 | multi_c_Si | 44.102 | -80.7472 | 50 | Longwood TS | FS395 | 95 | 268 | 149
Solar | Solar_3 | multi_c_Si | 42.9585 | -81.6708 | 12 | Longwood TS | FS395 | 95 | 266 | 147
Solar | Solar_4 | multi_c_Si | 42.8913 | -81.1134 | 20 | Longwood TS | FS395 | 95 | 266 | 148
Solar | Solar_5 | multi_c_Si | 42.9854 | -80.9604 | 19.5 | Longwood TS | FS395 | 95 | 266 | 149
Solar | Solar_8 | multi_c_Si | 42.695 | -80.9791 | 10 | Longwood TS | FS395 | 95 | 265 | 149
Solar | Solar_9 | multi_c_Si | 43.0711 | -81.1582 | 7 | Longwood TS | FS395 | 95 | 266 | 148
Solar | Solar_10 | multi_c_Si | 42.9743 | -79.1965 | 10 | Middleport TS | FS395 | 95 | 266 | 151
Solar | Solar_11 | multi_c_Si | 48.3603 | -89.2536 | 10.9 | Middleport TS | FS395 | 95 | 277 | 136
Solar | Solar_12 | multi_c_Si | 48.7152 | -94.2518 | 10 | Longwood TS | FS395 | 95 | 277 | 129
Solar | Solar_13 | multi_c_Si | 48.9428 | -88.3141 | 1 | Hanmer TS | FS395 | 95 | 278 | 138
Solar | Solar_14 | multi_c_Si | 48.4393 | -80.3256 | 8 | Porcupine TS | FS395 | 95 | 277 | 150
Solar | Solar_15 | multi_c_Si | 49.1444 | -80.9717 | 40 | Porcupine TS | FS395 | 95 | 278 | 149
Solar | Solar_19 | multi_c_Si | 49.6807 | -83.6816 | 10 | Porcupine TS | FS395 | 95 | 279 | 144
Solar | Solar_20 | multi_c_Si | 47.5126 | -79.708 | 30 | Porcupine TS | FS395 | 95 | 275 | 150
Solar | Solar_23 | multi_c_Si | 49.375 | -82.3928 | 6 | Porcupine TS | FS395 | 95 | 279 | 146
Solar | Solar_24 | multi_c_Si | 44.1939 | -78.0946 | 5 | Cherrywood TS | FS395 | 95 | 268 | 153
Solar | Solar_25 | multi_c_Si | 45.4289 | -74.9374 | 36 | Hawthorne TS | FS395 | 95 | 271 | 158
Solar | Solar_27 | multi_c_Si | 45.5035 | -74.5278 | 43.2 | Hawthorne TS | FS395 | 95 | 271 | 158
Solar | Solar_30 | multi_c_Si | 45.3092 | -76.2435 | 20 | Hawthorne TS | FS395 | 95 | 271 | 156
Solar | Solar_31 | multi_c_Si | 45.3031 | -75.458 | 10 | Hawthorne TS | FS395 | 95 | 271 | 157
Solar | Solar_32 | multi_c_Si | 45.4083 | -76.275 | 23.4 | Hawthorne TS | FS395 | 95 | 271 | 156
Solar | Solar_34 | multi_c_Si | 48.7078 | -94.2516 | 5 | Hanmer TS | FS395 | 95 | 277 | 129
Solar | Solar_35 | multi_c_Si | 49.8395 | -92.8467 | 10 | Hanmer TS | FS395 | 95 | 280 | 131
Solar | Solar_36 | multi_c_Si | 48.3653 | -89.3208 | 8.5 | Middleport TS | FS395 | 95 | 277 | 136
Solar | Solar_37 | multi_c_Si | 48.7069 | -94.2503 | 10 | Middleport TS | FS395 | 95 | 277 | 129
Solar | Solar_38 | multi_c_Si | 44.2904 | -76.9257 | 19.5 | Lennox TS | FS395 | 95 | 269 | 155
Solar | Solar_40 | multi_c_Si | 44.0199 | -77.094 | 20 | Lennox TS | FS395 | 95 | 268 | 154
Solar | Solar_42 | multi_c_Si | 44.3118 | -76.6511 | 100 | Lennox TS | FS395 | 95 | 269 | 155
Solar | Solar_43 | multi_c_Si | 44.232 | -77.3566 | 10 | Lennox TS | FS395 | 95 | 268 | 154
Solar | Solar_44 | multi_c_Si | 44.2175 | -76.7082 | 10 | Lennox TS | FS395 | 95 | 268 | 155
Solar | Solar_45 | multi_c_Si | 44.059 | -77.3315 | 20 | Lennox TS | FS395 | 95 | 268 | 154
Solar | Solar_47 | multi_c_Si | 44.0246 | -78.1208 | 20 | Lennox TS | FS395 | 95 | 268 | 153
Solar | Solar_49 | multi_c_Si | 44.4084 | -76.9154 | 54 | Lennox TS | FS395 | 95 | 269 | 155
Solar | Solar_50 | multi_c_Si | 44.3145 | -77.432 | 21 | Lennox TS | FS395 | 95 | 269 | 154
Solar | Solar_51 | multi_c_Si | 44.3136 | -78.3926 | 10 | Lennox TS | FS395 | 95 | 269 | 152
Solar | Solar_52 | multi_c_Si | 44.2044 | -76.9251 | 8.5 | Lennox TS | FS395 | 95 | 268 | 155
Solar | Solar_53 | multi_c_Si | 44.2966 | -76.633 | 98 | Lennox TS | FS395 | 95 | 269 | 155
Solar | Solar_54 | multi_c_Si | 43.9294 | -78.5454 | 2 | Lennox TS | FS395 | 95 | 268 | 152
Solar | Solar_56 | multi_c_Si | 44.0561 | -77.1519 | 10 | Lennox TS | FS395 | 95 | 268 | 154
Solar | Solar_57 | multi_c_Si | 44.6707 | -76.3044 | 30 | Lennox TS | FS395 | 95 | 269 | 156
Solar | Solar_58 | multi_c_Si | 45.0965 | -74.7167 | 10 | Hawthorne TS | FS395 | 95 | 270 | 158
Solar | Solar_60 | multi_c_Si | 44.8206 | -76.307 | 10 | Hawthorne TS | FS395 | 95 | 270 | 156
Solar | Solar_62 | multi_c_Si | 44.7257 | -75.4928 | 9.3 | Hawthorne TS | FS395 | 95 | 269 | 157
Solar | Solar_63 | multi_c_Si | 45.1066 | -74.6822 | 9.3 | Hawthorne TS | FS395 | 95 | 270 | 158
Solar | Solar_64 | multi_c_Si | 45.0564 | -76.0795 | 34 | Hawthorne TS | FS395 | 95 | 270 | 156
Solar | Solar_66 | multi_c_Si | 45.1563 | -75.2245 | 10 | Hawthorne TS | FS395 | 95 | 270 | 157
Solar | Solar_67 | multi_c_Si | 45.1024 | -74.6899 | 20 | Hawthorne TS | FS395 | 95 | 270 | 158
Solar | Solar_69 | multi_c_Si | 45.0679 | -74.9468 | 10 | Hawthorne TS | FS395 | 95 | 270 | 158
Solar | Solar_70 | multi_c_Si | 44.6329 | -75.6982 | 19 | Hawthorne TS | FS395 | 95 | 269 | 156
Solar | Solar_72 | multi_c_Si | 44.9778 | -75.8198 | 7 | Hawthorne TS | FS395 | 95 | 270 | 156
Solar | Solar_73 | multi_c_Si | 44.9856 | -75.013 | 10 | Hawthorne TS | FS395 | 95 | 270 | 157
Solar | Solar_74 | multi_c_Si | 44.6712 | -76.273 | 20 | Hawthorne TS | FS395 | 95 | 269 | 156
Solar | Solar_76 | multi_c_Si | 45.017 | -74.9659 | 20 | Hawthorne TS | FS395 | 95 | 270 | 158
Solar | Solar_78 | multi_c_Si | 45.1276 | -75.2581 | 10 | Hawthorne TS | FS395 | 95 | 270 | 157
Solar | Solar_79 | multi_c_Si | 44.8769 | -76.007 | 52.5 | Hawthorne TS | FS395 | 95 | 270 | 156
Solar | Solar_85 | multi_c_Si | 42.1449 | -83.0769 | 45 | Longwood TS | FS395 | 95 | 264 | 145
Solar | Solar_88 | multi_c_Si | 46.6692 | -80.9214 | 10 | Hanmer TS | FS395 | 95 | 273 | 149
Solar | Solar_89 | multi_c_Si | 42.855 | -80.3607 | 9.5 | Middleport TS | FS395 | 95 | 266 | 149
Solar | Solar_90 | multi_c_Si | 42.8883 | -79.819 | 100 | Milton SS | FS395 | 95 | 266 | 150
Solar | Solar_91 | multi_c_Si | 42.8037 | -80.0461 | 44 | Longwood TS | FS395 | 95 | 266 | 150
Solar | Solar_92 | multi_c_Si | 42.8745 | -80.2972 | 10 | Longwood TS | FS395 | 95 | 266 | 150
Solar | Solar_93 | multi_c_Si | 43.049 | -80.3883 | 8 | Longwood TS | FS395 | 95 | 266 | 149
Solar | Solar_94 | multi_c_Si | 46.5236 | -84.4456 | 69 | Hanmer TS | FS395 | 95 | 273 | 143
Solar | Solar_97 | multi_c_Si | 44.629 | -79.8493 | 9 | Essa TS | FS395 | 95 | 269 | 150
Solar | Solar_98 | multi_c_Si | 44.651 | -78.7587 | 21 | Claireville TS | FS395 | 95 | 269 | 152
Solar | Solar_99 | multi_c_Si | 44.2588 | -79.293 | 100 | Claireville TS | FS395 | 95 | 269 | 151
Solar | Solar_105 | multi_c_Si | 42.2741 | -82.4267 | 5 | Longwood TS | FS395 | 95 | 265 | 146
Solar | Solar_106 | multi_c_Si | 44.0616 | -79.1816 | 16.5 | Claireville TS | FS395 | 95 | 268 | 151
Solar | Solar_108 | multi_c_Si | 42.281 | -82.9351 | 50 | Longwood TS | FS395 | 95 | 265 | 146
Solar | Solar_109 | multi_c_Si | 42.9417 | -82.3394 | 80 | Longwood TS | FS395 | 95 | 266 | 146
Solar | Solar_111 | multi_c_Si | 42.8692 | -82.4207 | 20 | Longwood TS | FS395 | 95 | 266 | 146
Solar | Solar_112 | multi_c_Si | 42.7113 | -82.4619 | 20 | Longwood TS | FS395 | 95 | 265 | 146
Solar | Solar_113 | multi_c_Si | 44.5392 | -79.765 | 22 | Essa TS | FS395 | 95 | 269 | 150
Solar | Solar_117 | multi_c_Si | 42.7841 | -80.2655 | 9.1 | Middleport TS | FS395 | 95 | 266 | 150
Solar | Solar_118 | multi_c_Si | 42.9359 | -80.1435 | 20 | Middleport TS | FS395 | 95 | 266 | 150
Solar | Solar_119 | multi_c_Si | 42.4454 | -81.8504 | 9.4 | Longwood TS | FS395 | 95 | 265 | 147
Solar | Solar_120 | multi_c_Si | 45.6081 | -79.4262 | 20 | Essa TS | FS395 | 95 | 271 | 151
Solar | Solar_122 | multi_c_Si | 44.5825 | -79.4981 | 48 | Essa TS | FS395 | 95 | 269 | 151
Solar | Solar_128 | multi_c_Si | 44.6982 | -79.8423 | 20 | Essa TS | FS395 | 95 | 269 | 150
Solar | Solar_136 | multi_c_Si | 44.0636 | -78.8664 | 10 | Cherrywood TS | FS395 | 95 | 268 | 152

## user_inputs
Input_Variable | User_Input
demand_schedule_file | /user_inputs/Ontario_Demand_Real_Forecasted_IESO_2012.xlsx
demand_schedule_column | Total
demand_forecasting_error | 0 | #Note: if you are in 'testing' mode, then the forecasting error does not get applied. This is so that it is easier to debug errors, when you are in testing mode.
wind_forecasting_error | 0 | #However, these errors do get applied when you are in non-testing mode.
solar_forecasting_error | 0
cost_load_shedding | must be hard-cded into minpower.cfg
analysis startdate | 2012-10-08 | # define historical data (vre resource and load) to use. NOTE: start hour has to be 0:00 (12:00:00 AM) and end date has to be 23:00 (11:00:00 PM)
analysis enddate | 2012-10-14 23:00 | #NOTE: the date indexes on your load and vre input files should be the same. It is recommended that you always use one year of data (since this is how the vre data fill will be organized). Start with the 1/1/YYYY in cell A2 for both the vre and load files. Note that no time conversion is applied in the model. That is why the vre index must line up with the load index- to make sure that 2 pm in the load file is the same as 2 pm in the vre file.
timezone | 'Chile/Continental'
VRE timeseries resource data folder | C:\Users\User\Desktop\chargedup\SILVER_Py3\VRE_Resource_Analysis
VRE timeseries generation data folder | /VRE_Resource_Analysis/
Hydro energy capacity dataset | /user_inputs/hydro_pondage.xlsx
Assumptions: | UC holds until 1 hour before OPF
p min = UC power - 1 hr ramp value (status =1)
p max = UC power + 1 hr ramp value (status =1)
if status = 0
if cold start > 1 hr then p max = 0
if cold start < 1 hr then p max = cold start 1 hr ramp value
Note: | You may need to right-click clear-contents to get rid fo values that you don't want there…

## site independent
technology assumptions | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | [9 empty] | references colour coded
[8 empty] | estimated start up times (notice to full load) |  |  |  | cycling costs |  |  | research these value and add it here
non-vre sources | levelized capital cost | fixed o&m cost | variable o&m cost (inc. fuel) | transmission investment | total system LCOE | efficiency | GHG emissions | hot start | warm start | cold start | spin ramp rate | hot start | warm start | cold start | spinning cost | minimum up time | minimum down time | shut down cost | negative change in power for spinning unit | shut down ramp limit | Operating reserve coeff. | Max capacity value | Total overnight cost in 2014
| 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh |  | kg CO2e/MWh | hours |  |  | %/min | $/MW cap. |  |  | [$ per hour committed] | [hours] | [hours] |  |  |  | [Fraction of installed capacity] | [Fraction of installed capacity] | $/kW
coal | 60 | 4.2 | 30.3 | 1.2 | 95.6 | 0.32623 | 820 | 3 | 6.5 | 10 | 2 | 59 | 65 | 105 | 10000 | 3 | 3 | 0 |  |  | 0.53 | 1 | 2917 | "Levelized cost and levelized avoided cost of new generation resources in the Annual Energy Outlook 2014" US Energy Information Administration
Natural gas | [14 empty] | 10000 | 4 | 3 | 0 |  |  |  | 1 |  | "FAQ: What is the efficiency of different types of power plants?" US Energy Information Administration
NG_CC | 14.3 | 1.7 | 49.1 | 1.2 | 66.3 | 0.55 | 490 | 1 | 2 | 4 | 5 | 35 | 55 | 79 | 10000 | 4 | 3 | 0 |  |  | 0.53 | 1 | 671 |  | Table 8.1. Average Operating Heat Rate for Selected Energy Sources, 2003-2013. US Energy Information Administration
NG_CT | 40.2 | 2.8 | 82 | 3.4 | 128.4 | 0.35 | 530 | 0.5 | 0.5 | 0.5 | 8 | 32 | 126 | 103 | 10000 | 4 | 3 | 0 |  |  | 1 | 1 | 968 |  | Annual Energy Review 2010. Appendix F: Alternatives for Estimating Energy Consumption. Table F1. Conversion Efficiencies of noncombustible Renewable Energy Sources. US Energy Information Administration.
NG_CG | 40.2 | 2.8 | 82 | 3.4 | 128.4 | 0.35 | 530 | 0.5 | 0.5 | 0.5 | 8 | 32 | 126 | 103 | 10000 | 4 | 3 | 0 |  |  | 1 | 1 | 968
diesel | 8 | 2 | 288 |  |  | 0.31849 | 733 | [6 empty] | 10000000 | 10000 |  |  | 0 |  |  | 0.86 | 1
fuel oil | 8 | 2 | 172.8 |  |  | 0.31849 | 733 | [6 empty] | 10000000 | 10000 |  |  | 0 |  |  | 0.86 | 1
nuclear | 71.4 | 11.8 | 11.8 | 1.1 | 96.1 | 0.32654 | 12 | 1 |  | 13 | 5 |  |  | 500 | 10000 | 10 | 3 | 0 |  |  | 0.2 | 1 | 5366 | "Biomass Energy Economics" Pacific Energy Systems, Inc.
hydro | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651 | Climate Change 2014: Mitigation of Climate Change. Contribution of Working Group III to the Fifth Assessment Report of the Intergovernmental Panel on Climate Change. Annex III: Technology-specific cost and performance parameters. Table A.III.2 Emissions of selected electricity supply technologies
hydro_hourly | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
hydro_daily | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
hydro_monthly | 72 | 4.1 | 6.4 | 2 | 84.5 | 0.9 | 24 | [7 empty] | 10000 | [5 empty] | 0.66 | 1 | 2651
geothermal | 34.2 | 12.2 | 0 | 1.4 | 47.9 | 0.16 | 38 | [7 empty] | 10000 | [5 empty] | 0.32 | 1 | 2448 | "Technical Assessment of the Operation of Coal and Gas Fired Plants" Report to the DECC
biomass | 47.4 | 14.5 | 39.5 | 1.2 | 102.6 | 0.23 | 230 | [7 empty] | 10000 | [5 empty] | 0.53 | 1 | 3659 | "the westinghouse pressurized water reactor nuclear power plant" Table 16-1 Estimated Startup Time in Hours Required by NSSS
biogas | 47.4 | 14.5 | 39.5 | 1.2 | 102.6 | 0.23 | 230 | [7 empty] | 10000 | [5 empty] | 0.53 | 1 | 3659 | http://www.powerauthority.on.ca/current-electricity-contracts/sc-cc
variable renewable energy sources | levelized capital cost | fixed o&m cost | variable o&m cost (inc. fuel) | transmission investment | total system LCOE | efficiency | [17 empty] | "Cost and Performance Data for Power Generation Technologies" Prepared for the National Renewable Energy Laboratory
| 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | 2012 $/MWh | given by power curves | [17 empty] | "Power Plant Cycling Costs" Prepared for the National Renewable Energy Laboratory
wind | 64.1 | 13 | 0 | 3.2 | 80.3 | [5 empty] | 1 | [10 empty] | 20% | 19.8
wind - offshore | 175.4 | 22.8 | 0 | 5.8 | 204.1 | [17 empty] | 6154 | *(likely conservative) estimate based on the fact that simple cycle is less efficient
solar PV | 114.5 | 11.4 | 0 | 4.1 | 130 | [16 empty] | 60% | 3279 | Trends in GHG Emissions in the Alberta Electricity Market
solar thermal | 195 | 42.1 | 0 | 6 | 243.1 | [17 empty] | 4052
diesel costs: Lazard LCOE version 8.0
balancing technologies | [23 empty] | assumed fuel oil costs are ~60% of diesel costs based on http://asian-power.com/regulation/commentary/reducing-diesel-power-plant-hfo-bill
"Comparison of Lifecycle Greenhouse Gas Emissions of Various Electricity Generation Sources" WNA
storage | capital cost power | capital cost capacity | annual operating costs | efficiency | applicable grid system size (MW) |  | storage capacity (kWh) |  | charge rate | discharge rate
| (avg) $/kW | (avg) $/kWh | $/kWyr | (max) | min | max | min | max | kW | kW | [13 empty] | "Electricity Storage and Renewables for Island Power" IRENA 2012
PHS | 2500 | 175 | 5 | 0.85 | 200 | 5000 |  |  | 2002500 | 2002500 | [10 empty] | 1 | 50% | 1000 | Kousksou et al. "Energy storage: Applications and challenges" Solar Energy Materials & Solar Cells 2014
CAES | 900 | 100 | 5 | 0.6 | 3 | 400 |  |  | 175000 | 300000 | [10 empty] | 1 | 50% | 650 | "Energy Technology Perspectives" IEA 2014
FES | 3000 | 2250 | 15 | 0.95 | 0.1 | 200 | 1 | 25 | 200 | 200 | [13 empty] | Nils's Paper (Submitted to Energy Economics)
batteries | [20 empty] | 1 | 50% | 1500 | EIA AEO2015 Table 8.2" Cost and Performance characteristics of new central station electricity generating technologies
Pb-acid | 550 | 325 | 30 | 0.9 | 0 | 10 | 0.5 | 10 | 0.8 | 1.25 | [13 empty] | My storage paper with Nils (YSSP report)
Ni-Cd | 1000 | 1150 |  | 0.65 | 0 | 40
Na-S | 1500 | 187.5 | 15 | 0.9 | 0.05 | 8 |  |  | 50 | 50
Li-ion | 700 | 1000 | 25 | 0.95 | 0 | 10 | 0.5 | 10 | 1.1 | 5.25
vanadium | 2500 | 575 |  | 0.85 | 0.05 | 10 | 20 | 50
hydrogen | 1000 | 15 |  | 0.5 | 0.1 | 10 |  |  | 2.505
flow battery | 1600 | 575 | 30 | 0.85 | 0.025 | 10 | 20 | 50 | 12.5 | 15
capacitors | 400 | 1000 |  | 0.65 | 0 | 0.05
supercapacitors | 300 | 2000 |  | 0.95 | 0 | 0.3
SMES | 300 | 10000 |  | 0.95 | 0.1 | 10
thermal | 250 | 26.5 |  | 0.6 | 0 | 300
sector integration - transportation
EV |  |  |  | 0.9 | [16 empty] | 1 | 50%
demand response - shifting
[5 empty] | shreddability (%) | controllability (%) | acceptability (%) | S*P | [15 empty] | "Grid Integration of Aggregated Demand Response, Part 1: Load Availability Profiles and Constraints for the Western Interconnection." NREL
assume x% flexibility - user input |  |  | commercial
assume different flexibilities during different hours |  |  | - cooling |  | 41-49 | 15-25 | 3-77 | 0.45*0.20=0.09 | summer = 9% | cooling peaks from 12-8pm
|  |  | - heating |  | 46-51 | 10-25 | 0-77 | g | winter = 8.6 % | heating peaks from 7-9 am
DR capacity = load * participation rate * sheddability |  |  | residential
participation = min (controllability, acceptability) |  |  | - cooling |  | 20-70 | 2-52 | 13-39 | 0.45*0.26=0.117 | summer = 8.35%
|  |  | - heating |  | 20-30 | 2-48 | 0-1.5 | 0.25*0.01=0.0025 | winter = 2.5%
lighting and ventilation are not easily shiftable! |  |  | - water heating |  | 25 | 13-26 | 13-39 | 0.25*0.20=0.05 |  | peaks 7am, 6pm
** would need demand data by sector |  |  | industrial |  | sheddability (%) | participation (%) | S*P | average |  | ind/mun fairly flat over day
divide year into heating/cooling, keep others year round |  |  | - agricultural water pumping |  | 100 | 10 | 10% | 6%
for multiple end uses, take average of shed * participation? |  |  | - data centres |  | 3 | 100 | 3%
for zeros, use a small non-zero number… |  |  | - regrigerated warehouses |  | 5 | 100 | 5%
for ranges, take midpoint? |  |  | municipal
|  |  | - fresh water pumping |  | 5 | 25 | 1.25%
|  |  | - waste water pumping |  | 5 | 25 | 1.25%
transmission
$ / kWh
- using existing lines | 0.009 | [22 empty] | AEO 2015 table 8
assumptions: aluminum conductor steel reinforced (ACSR), Tubular (230 kV)/Lattice (345 kV - 600 kV), >10 miles
- building new lines | $ / km | source gives in $/mile. 1 mile = 1.60934 km
-- 115 kV single circuit | 596331.4154 | [22 empty] | "Capital Costs for Transmission and Substations" prepared for the Western Electricity Coordinating Council
-- 115 kV double circuit | 954677.0726
-- 230 kV single circuit | 596331.4154
-- 230 kV double circuit | 954677.0726
-- 500 kV single circuit | 1192693.8994
-- 500 kV double circuit | 1908701.7038
-- 500 kV HVDC Bi-pole | 954677.0726
-- 600 kV HVDC Bi-pole | 1002398.4988
backup generation | depends on sources data
curtailment | output - last resort
sector integration - transportation
-- electric vehicles | base msrp | est. tax credit (US) | body type | seats | EPA range (miles conv to km) | batt size [kWh] | charge rate [kW] | [16 empty] | http://www.plugincars.com/cars
bmw i3 | 43300 | 7500 | sedan | 4 | 130.3565 | 22 | 6.6
chevrolet spark | 26000 | 7500 | coupe | 4 | 131.9659 | 19 | 3.3
fiat 500 e | 32600 | 7500 | sedan | 4 | 140.0126 | 24 | 6.6
ford focus electric | 30000 | 7500 | sedan | 5 | 122.3098 | 23 | 6.6
kia soul ev | 34500 | 7500 | sedan | 5 | 149.6686 | 27 | 6.6
mercedes B-class electric | 42400 | 7500 | sedan | 5 | 136.7939 | 28 | 10
mitsubishi i-MiEV | 23800 | 7500 | sedan | 4 | 99.7791 | 16 | 3.3
nissan LEAF | 29800 | 7500 | sedan | 5 | 135.1846 | 24 | 6.6
smart electric drive | 25700 | 7500 | coupe | 2 | 109.4351 | 17 | 3.3
tesla model s | 71000 | 7500 | sedan | 5 | 426.4751 | 85 | 10
volkswagen E-golf | 36300 | 7500 | sedan | 5 | 133.5752 | 24 | 7.2
tesla model X | 80000 | 7500 | SUV | 7 | 370.1482 | 85 | 10
-- comparison with gas vehicles | base msrp | no tax credits | body type | seats | fuel consumption (city/hwy/combined) [L/100km] | ghg emissions
smart | 14930 |  | coupe | 2 | 6.9/5.7/6.3 | 130g/km | [17 empty] | http://www.thesmart.ca/ca/en/index.html
fiat 500 | 16745 |  | sedan | 4 | 8.7/6.9 | [18 empty] | http://www.fiatcanada.com/en/2015/500/
ford focus | 17170 |  | sedan | 5 | 9.3/6.7/8.1 | [18 empty] | http://www.ford.ca/cars/focus/specifications/
ford explorer | 30700 |  | suv | 7 | 13.7/9.7 | [18 empty] | http://www.thesmart.ca/ca/en/index.html
[7 empty] | vehicle class | required battery size [kWh] | [15 empty] | "Impacts Assessment of PHEV on Electric Utilities and Regional US Power Grids Part 1: Technical Analysis" PNNL
--plug-in hybrid | assume average vehicle travels about 50 km/day - battery could easily displace fuel for such distance | [5 empty] | compact sedan | 8.6
[7 empty] | mid-size sedan | 9.9
[7 empty] | mid-size SUV | 12.5
[7 empty] | full-size SUV | 15.2
| costs |  | HEV cost premium avg $4000 | [20 empty] | Sovacool, B. and Hirsh, R. "Beyond batteries: an examination of the benefits and barriers to PHEVs and a V2G transition"
annual revenue for V2G ancillary services (grid regulation) $4000/vehicle
** cost savings dependent on electricity pricing - current avg 110 c/L for gas, 8.0 c/kWh off peak (CAD)
| ghg emission reductions |  | assuming 50% penetration, reduces GHG emissions by 27%
| petroleum displacement |  | up to 6.5 million boe/day
| benefits to grid |  | cars can serve as distributed generators
storage support - particularly for wind when generation at night corresponds with typical charge time
| base msrp | est. tax credit | body type | seats | epa range (elec only) | battery size | charge rate | [16 empty] | http://www.plugincars.com/cars
cadillac ELR | 76000 | 7500 | coupe | 4 | 59.5456 | 17 | 3.3
chevy volt | 35200 | 7500 | sedan | 4 | 61.1549 | 17 | 3.3
ford c-max energi | 32600 | 3700 | wagon | 5 | 32.1868 | 8 | 3.3
ford fusion energi | 35600 | 3700 | sedan | 5 | 32.1868 | 7 | 3.3
honda accord PH | 40700 | 3700 | sedan | 2 | 20.9214 | 7 | 6.6
porsche cayenne s e-hybrid | 78000 | 5300 | SUV | 5 | 22.5308 | 11 | 3.6
porsche panamera s e-hybrid | 100000 | 4700 | SUV | 4 | 24.1401 | 9 | 3
toyota prius PH | 30800 | 2500 | sedan | 5 | 17.7027 | 4 | 3.3
-- hybrid buses | cost premium avg 200 000 (~500 000 compared to 300 000) - mostly offset by govt | [22 empty] | "Hybrid Buses Costs and Benefits" EESI
30% ghg reduction
37% improvement in fuel economy
88% improvement in fuel efficiency
O&M (inc. fuel) costs 15% lower
| orion VII can carry average 51 passengers at peak times - vehicle displacement? | [22 empty] | https://www.ttc.ca/Routes/General_Information/General_Information.jsp
Note on B74: Madeleine: Need to get real values here
Note on V4: Madeleine: Note: the operating reserve coefficient is a fraction of generation in Nils' paper

## modeled attributes
Non-vre technology assumptions
| Cost - related Technology Characteristics |  | Operating Characteristics |  | Ramping Characteristics
col. | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp limit | shut down ramp limit
| [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 54 |  | 24 | 12 | 0.1 | -0.1
Natural gas
NG_CC | 66 |  | 8 | 4 | 0.25 | -0.25
NG_CT | 26 |  | 1 | 1 | 1 | -1
NG_CG | 26 |  | 1 | 1 | 1 | -1
diesel |  |  | 1 | 1 | 0.25 | -0.25
fuel oil |  |  | 1 | 1 | 0.25 | -0.25
nuclear | 55 |  | 168 | 24 | 0.01 | -0.01
hydro |  |  |  |  | 1 | -1
hydro_hourly |  |  |  |  | 1 | -1
hydro_daily |  |  |  |  | 1 | -1
hydro_monthly |  |  |  |  | 1 | -1
geothermal
biomass | 54 |  | 8 | 6 | 0.05 | -0.05
biogas | 54 |  | 8 | 6 | 0.05 | -0.05
wind
solar
PHS | 0 | 0 | 1 | 1 | 1 | -1
CAES
battery
EV
importexport
Imports
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)
MW At Marginal Cost

## scenario analysis
Scenario analysis inputs
|  | Installed Capacity Metric | Flexibility Factor Metric | Investment Cost |  | Transmission network capacity metric |  |  |  |  | VRE Resrouce Metric
col. | Installed capacity by type | Max capacity value | Operating reserve coeff. | Total overnight cost in 2014 | Cost | bus number | total installed capacity on bus | fraction of load on bus | total transmission capacity to/from bus | transmission line cost | bus number | Proposed wind capacity | Proposed multi c-Si solar capacity | Proposed mono c-Si solar capacity | Proposed thin film solar capacity
| [MW] | [fraction of installed capacity] | [fraction on installed capacity] | [$/kW installed] | [$] |  | [MW] | [percentage] | [MW] |  |  | [MW] | [MW] | [MW] | [MW]
coal | #VALUE! | 1 | 0.53 | 2917 | #VALUE! | NW_falls_g | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Natural gas | #VALUE! | 1 | 0 | 0 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
NG_CC | #VALUE! | 1 | 0.53 | 671 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
NG_CT | #VALUE! | 1 | 1 | 968 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
NG_CG | #VALUE! | 1 | 1 | 968 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
diesel | #VALUE! | 1 | 0.86 | 0 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
fuel oil | #VALUE! | 1 | 0.86 | 0 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
nuclear | #VALUE! | 1 | 0.2 | 5366 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
hydro | #VALUE! | 1 | 0.66 | 2651 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
hydro_hourly | #VALUE! | 1 | 0.66 | 2651 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
hydro_daily
hydro_monthly
geothermal
biomass
biogas
Imports | #VALUE! | [5 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
wind | #VALUE! | 0.2 | 0 | 19.8 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
solar PV | #VALUE! | 0.6 | 0 | 3279 | #VALUE! |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
PHS | 0 | 0.5 | 1 | 1000 | 0 |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
batteries | 0 | 0.5 | 1 | 1500 | 0 |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
EV | 0 | #N/A | #N/A | #N/A | #N/A |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Col number |  | 1 | 2 |  |  |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Notes: | [6 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | #N/A | #N/A |  |  |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 24470 | 16022.5421 |  |  |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | #N/A | #N/A |  |  |  | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | #VALUE! | 0 | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Note on L4: Madeleine:

## non-vre plants
plant ID | name | kind | cost curve equation | pmin | [MW] | bus | bus-old | initial power | initial status | hours in status | storage content | initial status | hours in status | storage content | cascade group name | number | min storage | max storage | min water discharge | max water discharge | h factor | efficiency
nuclear_1 | nuclear_1 | nuclear | 12.P | 0 | 3524 | Bowmanville SS | Bowmanville SS
nuclear_2 | nuclear_2 | nuclear | 12.P | 0 | 3126 | Bruce A TS | Bruce A TS
nuclear_3 | nuclear_3 | nuclear | 12.P | 0 | 3268 | Bruce B SS | Bruce B SS
nuclear_4 | nuclear_4 | nuclear | 12.P | 0 | 3102 | Cherrywood TS | Pickering A SS
hydro_hourly_1 | hydro_hourly_1 | hydro_hourly | 3.3P | 0 | 58 | Milton SS | DA Watson TS
hydro_hourly_2 | hydro_hourly_2 | hydro_hourly | 3.3P | 0 | 47 | Longwood TS | Andrews TS
hydro_hourly_3 | hydro_hourly_3 | hydro_hourly | 3.3P | 0 | 192 | Essa TS | Waubaushene TS
hydro_hourly_4 | hydro_hourly_4 | hydro_hourly | 3.3P | 0 | 860.5 | Hanmer TS | Clergue TS
hydro_hourly_5 | hydro_hourly_5 | hydro_hourly | 3.3P | 0 | 1 | Claireville TS | Fergus TS
hydro_hourly_6 | hydro_hourly_6 | hydro_hourly | 3.3P | 0 | 2119.2 | Middleport TS | Beck #1 SS
hydro_hourly_7 | hydro_hourly_7 | hydro_hourly | 3.3P | 0 | 214 | Porcupine TS | Kapuskasing TS
hydro_hourly_8 | hydro_hourly_8 | hydro_hourly | 3.3P | 0 | 1417.5 | Hawthorne TS | Alexander GS
hydro_hourly_9 | hydro_hourly_9 | hydro_hourly | 3.3P | 0 | 27.2 | Cherrywood TS | Otonabee TS
hydro_hourly_10 | hydro_hourly_10 | hydro_hourly | 3.3P | 0 | 289 | Lennox TS | Sidney TS
hydro_daily_1 | hydro_daily_1 | hydro_daily | 3.3P | 0 | 23 | Essa TS | Hollingsworth TS
hydro_daily_2 | hydro_daily_2 | hydro_daily | 3.3P | 0 | 206 | Middleport TS | DeCew Falls SS
hydro_daily_3 | hydro_daily_3 | hydro_daily | 3.3P | 0 | 928 | Hanmer TS | Aubrey Falls CGS
hydro_daily_4 | hydro_daily_4 | hydro_daily | 3.3P | 0 | 1662 | Porcupine TS | Iroquois Falls DS
hydro_daily_5 | hydro_daily_5 | hydro_daily | 3.3P | 0 | 1274 | Hawthorne TS | Des Joachims TS
biomass_1 | biomass_1 | biomass | 100P | 36 | 360 | Hanmer TS | AV Terrace Bay CTS
biomass_2 | biomass_2 | biomass | 100P | 0 | 2.4 | Hawthorne TS | Bilberry Creek TS
biomass_3 | biomass_3 | biomass | 100P | 2 | 15 | Claireville TS | King Edward TS
biomass_4 | biomass_4 | biomass | 100P | 0 | 3 | Longwood TS | Duart TS
biomass_5 | biomass_5 | biomass | 100P | 2 | 15.1 | Claireville TS | Bramalea TS
biomass_6 | biomass_6 | biomass | 100P | 1 | 11.4 | Middleport TS | Kenilworth TS
biomass_7 | biomass_7 | biomass | 100P | 5 | 53 | Porcupine TS | AP Calstock CSS
biogas_1 | biogas_1 | biogas | 100P | 1 | 7.6 | Cherrywood TS | Otonabee TS
biogas_2 | biogas_2 | biogas | 100P | 2 | 17.6 | Hawthorne TS | St.Isidore TS
biogas_3 | biogas_3 | biogas | 100P | 0 | 3.2 | Hanmer TS | North Bay TS
biogas_4 | biogas_4 | biogas | 100P | 2 | 19.4 | Middleport TS | Kitchener MTS #6
biogas_5 | biogas_5 | biogas | 100P | 1 | 7.6 | Milton SS | Erindale TS
biogas_6 | biogas_6 | biogas | 100P | 1 | 8.95 | Longwood TS | Clarke TS
biogas_7 | biogas_7 | biogas | 100P | 0 | 4.7 | Claireville TS | Manby TS
NG_CG_1 | NG_CG_1 | NG_CG | 136.5P | 59 | 293 | Longwood TS | Leamington TS
NG_CG_2 | NG_CG_2 | NG_CG | 136.5P | 68 | 341 | Hawthorne TS | Brockville TS
NG_CG_3 | NG_CG_3 | NG_CG | 136.5P | 16 | 80.5 | Cherrywood TS | Wilson TS
NG_CG_4 | NG_CG_4 | NG_CG | 136.5P | 23 | 115 | Claireville TS | Richview TS
NG_CG_5 | NG_CG_5 | NG_CG | 136.5P | 1 | 3.233 | Bruce A TS | Holland TS
NG_CG_6 | NG_CG_6 | NG_CG | 136.5P | 14 | 72 | Middleport TS | OHSC CGS
NG_CG_7 | NG_CG_7 | NG_CG | 136.5P | 35 | 173 | Milton SS | Third Line TS
NG_CC_1 | NG_CC_1 | NG_CC | 75.5P | 28 | 140 | Lennox TS | NPIF Kingston CGS
NG_CC_2 | NG_CC_2 | NG_CC | 75.5P | 65 | 325 | Longwood TS | Greenfld Energy CGS
NG_CC_3 | NG_CC_3 | NG_CC | 75.5P | 185 | 927 | Claireville TS | Goreway TS
NG_CC_4 | NG_CC_4 | NG_CC | 75.5P | 58 | 292 | Porcupine TS | Iroquois Falls DS
NG_CT_1 | NG_CT_1 | NG_CT | 136.5P | 601 | 3007 | Lennox TS | Lennox TS
NG_CT_2 | NG_CT_2 | NG_CT | 136.5P | 93 | 464 | Cherrywood TS | York EnergyCentr CGS
NG_CT_3 | NG_CT_3 | NG_CT | 136.5P | 7 | 34 | Porcupine TS | Kirkland Lake TS
NG_CT_4 | NG_CT_4 | NG_CT | 136.5P | 7 | 35 | Hanmer TS | Nipigon DS
NG_CT_5 | NG_CT_5 | NG_CT | 136.5P | 510 | 2552 | Longwood TS | Keith TS
NG_CT_6 | NG_CT_6 | NG_CT | 136.5P | 244 | 1222 | Milton SS | Halton Hills CGS
NG_CT_7 | NG_CT_7 | NG_CT | 136.5P | 125 | 624 | Middleport TS | Hearn SS
NG_CT_8 | NG_CT_8 | NG_CT | 136.5P | 124 | 618 | Parkway JCT | St.Clair E.C. CGS
NG_CT_9 | NG_CT_9 | NG_CT | 136.5P | 37 | 184 | Hawthorne TS | Morrisburg TS
importexport_1 | importexport_1 | importexport | 0P | 0 | 1 | Longwood TS
importexport_2 | importexport_2 | importexport | 0P | 0 | 1 | Middleport TS
importexport_3 | importexport_3 | importexport | 0P | 0 | 1 | Hanmer TS
importexport_4 | importexport_4 | importexport | 0P | 0 | 1 | Hanmer TS
importexport_5 | importexport_5 | importexport | 0P | 0 | 1 | Hawthorne TS
Ashfield SS
Bowmanville SS
Bruce A TS
Bruce B SS
Bruce JCT
Cherrywood TS
Claireville TS
Clarington JCT
Clarington TS
Essa TS
Evergreen SS
Hanmer TS
Hawthorne TS
K2 Wind 500 CGS
Lennox TS
Longwood TS
Middleport TS
Milton SS
Nanticoke TS
Napanee CSS
Nobel SS
Parkhill CTS
Parkway JCT
Parkway TS
Porcupine TS
Trafalgar TS
Willow Creek JCT

## storage
plant ID | name | kind | pmin | [MW] | storagecapacitymax | pumprampmax | resevoir level | bus | cost curve equation | initial power | initial status | hours in status | storage content

## EV_aggregator
plant ID | name | kind | [MW] | storagecapacitymax | pumprampmax | unpluggedhours | tripenergy | bus | initial power | initial status | hours in status | storage content | cost curve equation | pmin

## demand response
index | 1 | 2
| initial status | hours in status
initial values | 0 | 0
constraint:
| over-production | under-production
maximum hourly dr limit (% of schedule) | 130% | 70%
| maximum | minimum
absolute hourly dr limit (MW) | 6000 | 2
maximum
maximum daily dr (MW) | 144000
| increasing_shed | decreasing_shed
ramping limiatations (MW) | 1000 | -1000
| uptime | downtime
minimum up/down times (hours) | 1 | 1

## demand centres
city | frac pop | bus | dr_potential | region
Load_1 | 33% | Ashfield SS | 0.001455 | 40
Load_2 | 20% | Ashfield SS | 0.0010135 | 41
Load_3 | 25% | Bowmanville SS | 0.0015912 | 14
Load_4 | 20% | Bowmanville SS | 0.0020558 | 15
Load_5 | 12.5% | Bowmanville SS | 0.00070104 | 16
Load_6 | 12.5% | Bowmanville SS | 0.0060031 | 18
Load_7 | 20% | Bruce A TS | 0.0010135 | 41
Load_8 | 33% | Bruce A TS | 0.0023024 | 42
Load_9 | 20% | Bruce B SS | 0.0010135 | 41
Load_10 | 33% | Bruce B SS | 0.0023024 | 42
Load_11 | 20% | Bruce JCT | 0.0010135 | 41
Load_12 | 33% | Bruce JCT | 0.0023024 | 42
Load_13 | 12.5% | Cherrywood TS | 0.00070104 | 16
Load_14 | 12.5% | Cherrywood TS | 0.0060031 | 18
Load_15 | 17% | Cherrywood TS | 0.01403 | 19
Load_16 | 25% | Cherrywood TS | 0.050778 | 20
Load_17 | 12.5% | Claireville TS | 0.00070104 | 16
Load_18 | 12.5% | Claireville TS | 0.0060031 | 18
Load_19 | 17% | Claireville TS | 0.01403 | 19
Load_20 | 25% | Claireville TS | 0.050778 | 20
Load_21 | 25% | Clarington JCT | 0.0015912 | 14
Load_22 | 20% | Clarington JCT | 0.0020558 | 15
Load_23 | 12.5% | Clarington JCT | 0.00070104 | 16
Load_24 | 12.5% | Clarington JCT | 0.0060031 | 18
Load_25 | 25% | Clarington TS | 0.0015912 | 14
Load_26 | 20% | Clarington TS | 0.0020558 | 15
Load_27 | 12.5% | Clarington TS | 0.00070104 | 16
Load_28 | 12.5% | Clarington TS | 0.0060031 | 18
Load_29 | 50% | Essa TS | 0.017833 | 43
Load_30 | 25% | Evergreen SS | 0.0015912 | 14
Load_31 | 20% | Evergreen SS | 0.0020558 | 15
Load_32 | 12.5% | Evergreen SS | 0.00070104 | 16
Load_33 | 12.5% | Evergreen SS | 0.0060031 | 18
Load_34 | 17% | Evergreen SS | 0.01403 | 19
Load_35 | 25% | Evergreen SS | 0.050778 | 20
Load_36 | 100% | Hanmer TS | 0.0076138 | 47
Load_37 | 50% | Hanmer TS | 0.0030914 | 48
Load_38 | 50% | Hanmer TS | 0.0015921 | 49
Load_39 | 100% | Hanmer TS | 0.00098561 | 51
Load_40 | 100% | Hanmer TS | 0.0016021 | 52
Load_41 | 100% | Hanmer TS | 0.01202 | 53
Load_42 | 100% | Hanmer TS | 0.0084838 | 57
Load_43 | 100% | Hanmer TS | 0.01086 | 58
Load_44 | 100% | Hanmer TS | 0.0014953 | 59
Load_45 | 100% | Hanmer TS | 0.0048729 | 60
Load_46 | 100% | Hawthorne TS | 0.0084343 | 1
Load_47 | 100% | Hawthorne TS | 0.0066426 | 2
Load_48 | 100% | Hawthorne TS | 0.069468 | 6
Load_49 | 100% | Hawthorne TS | 0.0074764 | 7
Load_50 | 100% | Hawthorne TS | 0.0051082 | 9
Load_51 | 50% | K2 Wind 500 CGS | 0.0028552 | 31
Load_52 | 33% | K2 Wind 500 CGS | 0.001455 | 40
Load_53 | 20% | K2 Wind 500 CGS | 0.0010135 | 41
Load_54 | 50% | Lennox TS | 0.0055945 | 10
Load_55 | 50% | Lennox TS | 0.0015945 | 11
Load_56 | 50% | Lennox TS | 0.0050729 | 12
Load_57 | 50% | Lennox TS | 0.00091962 | 13
Load_58 | 100% | Longwood TS | 0.0066162 | 34
Load_59 | 100% | Longwood TS | 0.0075876 | 36
Load_60 | 100% | Longwood TS | 0.029665 | 37
Load_61 | 100% | Longwood TS | 0.0094165 | 38
Load_62 | 50% | Longwood TS | 0.016936 | 39
Load_63 | 50% | Middleport TS | 0.019962 | 25
Load_64 | 100% | Middleport TS | 0.033304 | 26
Load_65 | 50% | Middleport TS | 0.0040818 | 28
Load_66 | 100% | Middleport TS | 0.010024 | 29
Load_67 | 50% | Middleport TS | 0.019896 | 30
Load_68 | 17% | Milton SS | 0.01403 | 19
Load_69 | 25% | Milton SS | 0.050778 | 20
Load_70 | 50% | Milton SS | 0.051372 | 21
Load_71 | 50% | Milton SS | 0.02039 | 24
Load_72 | 50% | Nanticoke TS | 0.0040818 | 28
Load_73 | 10% | Napanee CSS | 0.0011189 | 10
Load_74 | 50% | Napanee CSS | 0.0015945 | 11
Load_75 | 50% | Napanee CSS | 0.0050729 | 12
Load_76 | 50% | Napanee CSS | 0.00091962 | 13
Load_77 | 50% | Nobel SS | 0.002253 | 44
Load_78 | 100% | Nobel SS | 0.0013431 | 46
Load_79 | 50% | Nobel SS | 0.0015921 | 49
Load_80 | 50% | Parkhill CTS | 0.0028552 | 31
Load_81 | 50% | Parkhill CTS | 0.016936 | 39
Load_82 | 33% | Parkhill CTS | 0.001455 | 40
Load_83 | 20% | Parkway JCT | 0.0020558 | 15
Load_84 | 12.5% | Parkway JCT | 0.00070104 | 16
Load_85 | 12.5% | Parkway JCT | 0.0060031 | 18
Load_86 | 19% | Parkway JCT | 0.015681 | 19
Load_87 | 15% | Parkway TS | 0.0015418 | 15
Load_88 | 12.5% | Parkway TS | 0.00070104 | 16
Load_89 | 12.5% | Parkway TS | 0.0060031 | 18
Load_90 | 17% | Parkway TS | 0.01403 | 19
Load_91 | 50% | Porcupine TS | 0.0030914 | 48
Load_92 | 100% | Porcupine TS | 0.0023981 | 54
Load_93 | 100% | Porcupine TS | 0.005925 | 56
Load_94 | 50% | Trafalgar TS | 0.051372 | 21
Load_95 | 100% | Trafalgar TS | 0.0045905 | 22
Load_96 | 100% | Trafalgar TS | 0.016561 | 23
Load_97 | 50% | Trafalgar TS | 0.02039 | 24
Load_98 | 50% | Trafalgar TS | 0.019962 | 25
Load_99 | 50% | Trafalgar TS | 0.019896 | 30
Load_100 | 50% | Willow Creek JCT | 0.017833 | 43
Load_101 | 50% | Willow Creek JCT | 0.002253 | 44

## existing transmission
name | from bus | to bus | voltage | circuits | length | pmax | reactance | line type | line cost
Line_1 | Ashfield SS | Longwood TS | 500 |  | 135
Line_2 | Ashfield SS | K2 Wind 500 CGS | 500 |  | 1
Line_3 | Bruce B SS | Willow Creek JCT | 500 |  | 16
Line_4 | Willow Creek JCT | Milton SS | 500 |  | 160
Line_5 | Bruce A TS | Willow Creek JCT | 500 |  | 16
Line_6 | Willow Creek JCT | Milton SS | 500 |  | 160
Line_7 | Bowmanville SS | Cherrywood TS | 500 |  | 45
Line_8 | Bowmanville SS | Cherrywood TS | 500 |  | 45
Line_9 | Bowmanville SS | Cherrywood TS | 500 |  | 45
Line_10 | Bowmanville SS | Clarington JCT | 500 |  | 20
Line_11 | Clarington JCT | Cherrywood TS | 500 |  | 25
Line_12 | Clarington JCT | Clarington TS | 500 |  | 0.1
Line_13 | Bruce A TS | Willow Creek JCT | 500 |  | 16
Line_14 | Willow Creek JCT | Milton SS | 500 |  | 160
Line_15 | Milton SS | Claireville TS | 500 |  | 38
Line_16 | Bruce B SS | Bruce JCT | 500 |  | 0.1
Line_17 | Bruce JCT | Willow Creek JCT | 500 |  | 16
Line_18 | Willow Creek JCT | Milton SS | 500 |  | 160
Line_19 | Bruce A TS | Willow Creek JCT | 500 |  | 16
Line_20 | Willow Creek JCT | Evergreen SS | 500 |  | 150
Line_21 | Bruce B SS | Bruce JCT | 500 |  | 0.1
Line_22 | Bruce JCT | Willow Creek JCT | 500 |  | 16
Line_23 | Willow Creek JCT | Ashfield SS | 500 |  | 45
Line_24 | Bruce A TS | Bruce JCT | 500 |  | 0.5
Line_25 | Bruce JCT | Bruce B SS | 500 |  | 0.5
Line_26 | Cherrywood TS | Parkway JCT | 500 |  | 17.5
Line_27 | Parkway JCT | Claireville TS | 500 |  | 25
Line_28 | Parkway JCT | Parkway TS | 500 |  | 0.1
Line_29 | Cherrywood TS | Claireville TS | 500 |  | 42.5
Line_30 | Cherrywood TS | Claireville TS | 500 |  | 42.5
Line_31 | Cherrywood TS | Parkway JCT | 500 |  | 17.5
Line_32 | Parkway JCT | Claireville TS | 500 |  | 25
Line_33 | Parkway JCT | Parkway TS | 500 |  | 0.1
Line_34 | Essa TS | Claireville TS | 500 |  | 65
Line_35 | Essa TS | Claireville TS | 500 |  | 65
Line_36 | Evergreen SS | Longwood TS | 500 |  | 36
Line_37 | Evergreen SS | Parkhill CTS | 500 |  | 0.1
Line_38 | Milton SS | Claireville TS | 500 |  | 38
Line_39 | Milton SS | Claireville TS | 500 |  | 38
Line_40 | Milton SS | Trafalgar TS | 500 |  | 12
Line_41 | Milton SS | Trafalgar TS | 500 |  | 12
Line_42 | Middleport TS | Milton SS | 500 |  | 65
Line_43 | Nanticoke TS | Middleport TS | 500 |  | 35
Line_44 | Nanticoke TS | Middleport TS | 500 |  | 35
Line_45 | Nanticoke TS | Longwood TS | 500 |  | 150
Line_46 | Porcupine TS | Hanmer TS | 500 |  | 200
Line_47 | Hanmer TS | Nobel SS | 500 |  | 150
Line_48 | Nobel SS | Essa TS | 500 |  | 130
Line_49 | Hanmer TS | Nobel SS | 500 |  | 150
Line_50 | Nobel SS | Essa TS | 500 |  | 130
Line_51 | Lennox TS | Bowmanville SS | 500 |  | 170
Line_52 | Lennox TS | Bowmanville SS | 500 |  | 170
Line_53 | Lennox TS | Hawthorne TS | 500 |  | 190
Line_54 | Lennox TS | Hawthorne TS | 500 |  | 190
Line_55 | Lennox TS | Bowmanville SS | 500 |  | 170
Line_56 | Lennox TS | Bowmanville SS | 500 |  | 170
Line_57 | Lennox TS | Napanee CSS | 500 |  | 15
Line_58 | Lennox TS | Napanee CSS | 500 |  | 15

## modeled attributes _original
Non-vre technology assumptions
| Cost - related Technology Characteristics |  |  | Operating Characteristics |  | Ramping Characteristics
col. | cost curve equation | start up cost | shut down cost | min up time | min down time | ramp rate max | ramp rate min | start up ramp | shut down ramp
| [$/ MBTU] | [$ / MWcap] | [$ / MWcap] | [hours] | [hours] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap] | [MW/hr p MWcap]
coal | 0.00888P + 10000 | 105 | 0 | 3 | 3 | 120 | -120 | 0.1 | -0.1
Natural gas | 0P + 10000 |  | 0 | 4 | 3
NG_CC | 0.01439P + 10000 | 79 | 0 | 4 | 3 | 300 | -300 | 0.25 | -0.25
NG_CT | 0.02403P + 10000 | 103 | 0 | 4 | 3 | 480 | -480 | 2 | -2
NG_CG | 0.02403P + 10000 | 103 | 0 | 4 | 3 | 480 | -480 | 2 | -2
diesel | 0.08441P + 10000 | 10000000 | 0
fuel oil | 0.05064P + 10000 | 10000000 | 0
nuclear | 0.00346P + 10000 | 500 | 0 | 10 | 3 | 3 |  | 0.076923 | -0.076923
hydro | 0.00188P + 10000
hydro_hourly | 0.00188P + 10000
wind | 0P
solar | 0P
PHS | 0P + 0 | 0 | 0
CAES | 0P + 0 | 0 | 0
battery | 0P + 0 | 0 | 0
EV | 0P + 0 | 0 | 0
Col number | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Notes: | cost curve equation | combination of variable cost (P^1) and spinning cost (P^0)
| start up cost | cost to commit the unit ($)
shut down cost
| min up time | minimum time for which a unit must be on (status =1) after it is committed [hours]
| min down time | minimum time for which a unit must be off (status = 0) after it is de-commited [hours]
| ramp rate max | positive change in real power over 1 hour (MW/hr) for a spinning unit (with status = 1)
| ramp rate min | negative change in real power over 1 hou (MW/hr) for a spinning unit (with status =1)
| start up ramp limit | maximum positive change in real power over the first hour after startup (MW/hr)
| shut down ramp limit | maximum negative change in real power over the last hor before shutdown (MW/hr)

## excel input instructions
*create dropdown list with these options
| Generating Plant IDs |  | Storage Plant IDs
| wind |  | PHS
| wind offshore |  | CAES
| solar PV multi c-Si |  | FES
| solar PV mono c-Si |  | Pb-acid
| solar PV thin film |  | Ni-Cd
| solar thermal |  | Na-S
| coal |  | Li-ion
| NG combined |  | vanadium
| NG simple |  | hydrogen
| diesel |  | flow battery
| fuel oil |  | capacitor
| nuclear |  | supercapacitor
| hydro |  | SMES
| geothermal |  | thermal
biomass
| Trina TSM-PDG5-255 | multi c-Si | TO DO: need to change 'vre plants' sheet so that the area [m^2] and # modules gets updated according to these values, given the module type
| nominal pwr at STC [Wp] | 255
| area | 1.688
| Canadian Solar CS6V-225MM | mono c-Si
| nominal pwr at STC [Wp] | 225
| area | 1.353
| First Solar FS395 | CdTe
| nominal pwr at STC [Wp] | 95
| area [m^2] | 0.72
Each unique node must be listed at least once in the 'existing transmission' sheet under the 'from bus' category
On the demand centres sheet, the dr_potential column needs to add to one. Also the dr_potential value for each city needs to be pro-rated by the percentage of load that that city consumes. The fomula in powersystems.py (Load constraints) for the second OPF is scheduled_load(time) - power(time) >= dr_3 (UC dr) *dr_potential for each city. As such if the dr_3*dr_potenail is greater than the scheduled_load value for that city in that hour, then the OPF would have to have a negative power value, which is obviously impossible, and so it fails.

## lists
USER: do not alter this sheet
VRE generation types | Wind | Solar
| wind_onshore | multi_c_Si
| wind_offshore | thin_film
mono_c_Si
Technologies | wind_onshore | wind_offshore | multi_c_Si | thin_film | mono_c_Si
| V_112-3.0 | V_112-3.0 | TSM-PDG5-255 | FS395 | CS6V-225MM
|  |  | CHSM_6610P_250 | FS935
|  |  | CS6X_320P | FS4122_2